H36Q_010

10/02/05

Power = 10,000
Gain = 1.25V
Channel 1 y-axis
50 kHz - 3,000,000 points

open minitweezer file = data
ramp 7 3-20,100,0
good x,z,i/s
change to pH 5
~ 3 min at 16 pN Fx
broke