Credibility of Computational Methods in Healthcare: A Comparison of Community-based Standards and Guidelines

M. Horner1,2, L. Mulugeta1,2, A. Erdemir1, G. An4, D.M. Eckmann5, J.E. Bischoff1,2, C.A. Hunt1, J. Ku1,

D. Lochner1, W.W. Lytton1, V. Marmarelis1, J.G. Myers1, G. Peng1, M.J. Steele1 and M. Walton1

1Committee on Credible Practice of Modeling & Simulation in Healthcare - http://wiki.simtk.org/cpms/ 
2V&V40 Sub-Committee under the ASME Standards Committee on Verification and Validation in Computational Modeling and Simulation

The role of computational modeling and simulation (M&S) in the development and delivery of healthcare continues to grow at a rapid pace. Consequently, there is a demand within the healthcare community to establish standards and guidelines to ensure M&S will be developed and applied reliably in healthcare practice and research. However, the multidisciplinary nature of healthcare practice and biomedical research, combined with the multi-contextual use and highly diverse maturity levels of biomedical M&S, present significant challenges for establishing unified M&S credible practice standards and guidelines. This presentation will compare and discuss the synergistic efforts of two cross-disciplinary initiatives to identify overlaps and differences in the context of M&S credibility.  The specific initiatives are the Committee on Credible Practice of Modeling & Simulation in Healthcare (CPMS hereafter) and the American Society of Mechanical Engineers (ASME) V&V40 Sub-Committee (V&V40 hereafter).  All authors are members of CPMS and/or V&V40 from the early stages of both initiatives.

A comparative analysis identified similarities and differences in their mission statements, stakeholders, end-products, operational approach and credibility workflows.  For example, the CPMS group aims to “establish credible practice guidelines, consistent terminology and proposed model certification process, as well as to demonstrate workflows and identify new areas of research for reliable development and application of M&S in healthcare practice and research”, whereas V&V40 aims to “provide procedures to standardize verification and validation for computational modeling of medical devices”.  Thus, V&V40 has a greater focus on medical device development and regulatory review versus CPMS which has a broader focus.  The results of this and the other comparisons makes it clear that the CPMS and V&V40 groups have similar goals with respect to their pursuit to establish procedures for credible application of M&S in medicine.  However, they differ significantly with respect to their approach, end-products and target audience.  The CPMS aims to establish guidelines, consistent terminology, and a model certification process that are broadly applicable to M&S in healthcare practice and research.  Moreover, their work is largely driven by the research community.  V&V40, on the other hand, is dedicated to developing procedures to standardize verification and validation for M&S of medical devices for medical device development and in regulatory applications. This is a direct result of the fact that the V&V40 initiative is largely driven by the medical device industry, and regulatory and standard bodies such as FDA and ASME.

Acknowledgements: The authors acknowledge all members of CPMS and V&V40. Further details about CPMS, V&V40, and the contributing authors can be found at http://wiki.simtk.org/cpms/CPMS_Members and https://cstools.asme.org/csconnect/CommitteePages.cfm?Committee=100108782.