Credible Practice of Modeling and Simulation in Healthcare

T.M. Morrison*, M. Horner, L. Mulugeta, L. Tian, M.J. Steele, C.A. Hunt, J.P. Ku,

P. Pathmanathan, D.R. Lochner, W.W. Lytton, J.G. Myers, G.C.Y. Peng, and A. Erdemir

All listed authors are members of the Committee on Credible Practice of Modeling & Simulation in Healthcare

* Correspondence: tina.morrison@fda.hhs.gov, U.S. Food and Drug Administration, 10903 New Hampshire Avenue, Silver Spring, MD 20993, U.S.A.

1. Introduction

Computational modeling is reliably used in traditional engineering disciplines to support product development and evaluation.  Biomedical fields, however, have been slower to adopt these approaches to the same extent, in part due to its desire to reverse engineer nature and understand qualitative concepts that can be more fully translated to quantitative concepts for mathematical modeling.  This approach is unlike other engineering disciplines that can apply mathematical modeling through direct implementation of first-principles, frameworks, and system rules of physical laws. In spite of these significant hurdles, leading government, health, academic and private institutions around the world recognize that computational methods have tremendous potential to support clinical research and decision making in healthcare [1-5].

The Avicenna Alliance has defined “in silico clinical trials” as “the use of individualised computer simulation in the development or regulatory evaluation of a medicinal product or medical device/medical intervention” [2].  The Medical Device Innovation Consortium has described the use of virtual patients to augment clinical trials, stating that “virtual patients is a concept that represents a continuum of information that can be exchangeable for real patient outcomes in a clinical study”, with an emphasis on information from computational models [3].  The U.S. Food and Drug Administration (FDA) has made a specific call to develop a virtual physiological patient as part of the implementation strategy to stimulate innovations in clinical evaluations [4].  The United States Congress “urges FDA to engage with device and drug sponsors to explore greater use, where appropriate, of in silico [clinical] trials for advancing new devices and drug therapy applications” [5].  These efforts emphasize a shift towards further reliance on data generated from in silico methods in healthcare and the evaluation of medical products.

To realize these goals, it is imperative to establish guidance and standards that can enable reliable use of computational modeling in the practice of healthcare and translational research.  As Pathmanathan et al. described [6,7], direct validation is often impossible for healthcare applications.  Direct validation requires a comparator that has been closely designed to match the setting of the context of use (COU).  Indirect validation can utilize a comparator for which there are significant differences to the setting of the COU.  Because the COU for healthcare applications usually involves the clinical setting and patients, the inability to perform direct validation hinders the broader acceptance and reliability of computational modeling in healthcare.  Moreover, even if appropriate validation is conducted, if the process and results are not reported with sufficient detail, then this could hinder adoption of that computational model.  We formed the Committee on Credible Practice of Modeling & Simulation in Healthcare (hereafter referred to as the Committee) to begin addressing these issues.  The Committee is part of the Interagency Modeling and Analysis Group (IMAG) and the Multiscale Modeling (MSM) Consortium [8].  The IMAG and MSM are organized by the National Institutes of Health (NIH) in collaboration with ten other government agencies and many academic researchers to promote the advancement of computational methods in healthcare practice and translational research.  Our presentation will discuss the Committee’s efforts to advance in silico methods in healthcare.

2. Materials and Methods

Forming the Committee

The Committee strives for balanced representation of interests and perspectives of different stakeholders in simulation-based medicine, including clinicians and experts in modeling, simulation, development and evaluation of medical products, and biomedical engineering.  Our charge is to develop and adopt a consistent terminology, propose guidelines and procedures for credible practice, demonstrate workflows for credible practice, and promote good practice.  The Committee uses the SimTK platform to establish an open forum providing complete transparency and facilitating community participation [9] in advancing the charge.

Consistent Terminology

One of the contributions from the Committee has been the development of a glossary wiki [10] that facilitates the curation of definitions of various modeling and simulation terms.  Since the founding of the Committee, its members have scoured the literature for relevant terminology of computational modeling, simulation and healthcare.  To ensure consistent and appropriate contributions to the glossary, the Committee established rules for curating definitions, specifically calling out the following: dictionary definition, which uses real dictionary definitions with references; committee definition, which includes definitions of a term proposed and vetted by the Committee; and domain-specific usage, which refers to terminology for a specific domain or discipline with references.  Additionally, each term has a section for notes and discussions, which contains issues and/or comments related to the definitions provided.

Proposing Guidelines for Credible Practice

The Committee took two approaches to developing guidelines for the credible practice of modeling and simulation in healthcare. The first was to survey the expertise of the Committee. During this first step, we gained greater appreciation for how differences in discipline, application purpose, and background can noticeably influence perspectives on the priority of the rules.  This is in turn motivated us to gain a more global, well-balanced input to complement the deep expertise of the Committee; thus we launched a second survey.

The Committee generated an initial list of 26 proposed rules of credible practice of modeling and simulation (M&S) in healthcare (Table 1) to be surveyed within the Committee.  This internal survey was conducted as open forum discussions among three separate Committee ‘task teams’ that represented the interests of the key players of M&S in healthcare: M&S developers, M&S users, and M&S standards and guidelines developers.  The Committee Co-Chairs then synthesized the results to formulate the Committee’s perspective on the Simple Rules of Credible Practice of M&S in Healthcare [11].

| Use version control | Use credible solvers | Explicitly list your limitations |
| --- | --- | --- |
| Report appropriately | Document your code | Provide examples of use |
| Practice what you preach | Develop with the end user in mind | Attempt validation within context |
| Follow discipline-specific guidelines | Attempt verification within context | Attempt uncertainty (error) estimation |
| Make sure your results are reproducible | Define your evaluation metrics in advance | Conform to discipline-specific standards |
| Be a discipline-independent/ specific example | Learn from discipline-independent examples | Use appropriate data (input, validation, verification) |
| Define the context the model is intended to be used for | Perform appropriate level of sensitivity analysis within context of use | Use consistent terminology or define your terminology |
| Get it reviewed by independent users/ developers/members | Provide user instructions whenever possible and applicable | Use traceable data that can be traced back to the origin |
| Disseminate whenever possible (source code, test suite, data, etc) | Use competition of multiple implementations to check and balance each other |  |

Table 1: The initial 26 proposed rules of credible practice surveyed within the Committee.

We updated the initial list to 32 rules [12] and launched a global survey, with Institutional Review Board exemption from Cleveland Clinic and Stanford University.  Survey participants were instructed to rank the rules on a scale from zero (not important) to five (extremely important).  The participants were also asked to include basic demographic information (e.g., discipline, years of expertise).  To avoid ranking bias, each participant received the rules in random order.  Additionally, 3 of the 32 rules were repeated in the survey (for a total of 35) to assess the consistency of each participant’s responses.  Upon survey completion, the data were reduced to only include responses from participants who were consistent and did not skip ranking more than two rules.  Finally, the 32 rules were ranked based on the total number of ‘extremely important’ (5) or ‘very important’ (4) responses for each rule received.

Demonstrating Workflows for Credible Practice

The Committee has engaged the community via public forum discussions to motivate leading experts to share examples and unique ideas to demonstrate workflows of credible practice of M&S in healthcare [13].  Most of the discussions to date have been centered on workflows derived from efforts at UCSF, Cleveland Clinic and NASA.  Additionally, the Committee has hosted webinars that feature use-cases that demonstrate different aspects of credible practice workflows [14]. In conjunction with the Committee’s work in this area, two members (Pathmanathan & Morrison) are leading a separate but complementary effort within the FDA to develop and implement a new framework for assessing the applicability of the computational model and its validation results for the proposed context of use for the computational model [6,7].

Promoting Good Practice

The Committee members constantly serve as stewards of promoting the good practice of modeling and simulation in healthcare applications. Examples of this are provided in the results. For instance, the use-case webinars also provide specific examples of desirable and not-so-desirable M&S practice.

3. Results

Consistent Terminology

Using this framework, the Committee has established more than three dozen relevant terms for modeling and simulation in healthcare.  The ultimate goal is to formally publish the glossary of terms as a manuscript and/or contribute to the Medical Dictionary maintained by the National Library of Medicine.  Please visit the glossary wiki page for the state of progress on this activity [9].

Proposing Guidelines for Credible Practice

The Committee’s Simple Rules for Credible Practice are presented in Table 2.  As for the global survey, we received 185 responses; 148 were consistent and complete.  The participants represented four continents and ten disciplines with varying degrees of education and experience.  While comparative analysis between the Committee’s perspective and the survey results showed noticeable differences in the final ranking of the 32 rules, both groups agreed that the first four rules listed in Table 2 are necessary for the credible practice of modeling and simulation in healthcare.

| Rule |  | Description |
| --- | --- | --- |
| 1. | Define context clearly | Develop and document the subject, purpose, and intended use(s) of the model or simulation. |
| 2. | Use appropriate data | Employ relevant and traceable information in the development or operation of a model or simulation. |
| 3. | Evaluate within context | Verification, validation, uncertainty quantification, and sensitivity analysis of the model or simulation are accomplished with respect to the reality of interest and intended use(s) of the model or simulation. |
| 4. | List limitations explicitly | Restrictions, constraints, or qualifications for or on the use of the model or simulation are available for consideration by the users or customers of a model or simulation. |
| 5. | Use version control | Implement a system to trace the time history of M&S activities including delineation of contributors’ efforts. |
| 6. | Document adequately | Maintain up-to-date informative records of all M&S activities, including simulation code, model mark-up, scope and intended use of M&S activities, as well as users’ and developers' guides. |
| 7. | Disseminate broadly | Publish all components of M&S activities, including simulation software, models, simulation scenarios and results. |
| 8. | Get independent reviews | Have the M&S activity reviewed by nonpartisan third-party users and developers. |
| 9. | Test competing implementations | Use contrasting M&S execution strategies to check the conclusions of the different execution strategies against each other. |
| 10. | Conform to standards | Adopt and promote generally applicable and discipline specific operating procedures, guidelines, and regulations accepted as best practices. |

Table 2: The Committee’s Simple Rules of Credible Practice of M&S in Healthcare.

Demonstrating Workflows for Credible Practice

The Committee has teams devoted to building these workflows.  A workflow for credible practice, from the perspective of the Committee, is about the entire life-cycle of the M&S process, from concept, coding to the numerical implementation.  Thus, there are many aspects to consider, which we plan to address through different examples from Committee members and stakeholders.  For example, there currently are no formal methods for assessing appropriateness or applicability of evidence from indirect validation.  Thus, the proposed framework [6,7] provides one mechanism for rigorous assessment of applicability, which can be used to evaluate models from a wide range of disciplines.

Promoting Good Practice

The Committee members are leaders in promoting the credible practice of modeling and simulation in healthcare applications. Several members of the Committee also serve on the American Society of Mechanical Engineers’ Verification and Validation Subcommittee (V&V40).  This group has developed a risk-informed credibility assessment method for establishing the appropriate level of verification and validation needed to support using a computational in a proposed context of use.  Two of the members previously developed reporting practices for computational models used in biomechanics [15].  The FDA has also taken the lead in developing guidance on reporting of modeling studies used in regulatory submissions [16].  The Committee has also hosted a webinar on “In silico design of novel surgical methods for children with single ventricle hearts”, which cultivated productive discussions about poor M&S practices that create a barrier for translating M&S into the clinic, and the good practices that can remove those barriers.  Other important topics such as appropriate definition of problems, validation methods, and how to create successful multidisciplinary teams were also covered [14,17].  We intend to host more webinars like this in the near future.

4. Discussion and Conclusions

Since its inception in 2013, the Committee has made substantial progress towards accomplishing our charge of developing guidelines and procedures for credible practice, developing and adopting a consistent terminology, demonstrating workflows for credible practice, and promoting good practice.  The Committee's activities to establish broadly applicable strategies for credible modeling and simulation have also informed funding programs focusing on multiscale modeling and simulation in healthcare [18]. It is anticipated that Committee's direction will benefit from the ecosystem of funded projects emerging from such programs, where the pursuit of model credibility can be explored in practice. The greatest effort will be the final list of the Simple Rules for Credible Practice, a compilation of the Committee’s perspective with the global stakeholders.  These efforts will be disseminated through peer-reviewed journal articles, Committee-approved white papers, and our open forum.

5. References

- Grace C. Peng, Editorial: What biomedical engineers can do to impact multiscale modeling. IEEE Trans. Biomed. Eng., Vol. 58, pp. 3440-2, December 2011.

- Avicenna Alliance, In Silico Roadmap for Clinical Trials, 2015

- Haddad T et al., Incorporation of stochastic engineering models as prior information in Bayesian medical device trials, submitted 2016

- FDA’s Advancing Regulatory Science Report, 2011

- FDA Law Blog, Fiscal Year 2016 Appropriations Bills, July 2015

- Pathmanathan et al., https://dx.doi.org/10.6084/m9.figshare.3189763.v2, 2016

- Pathmanathan et al., Demonstrating Applicability of Validation Evidence for Biomedical Computational Models, submitted 2016.

- L. Mulugeta and A. Erdemir, Frontiers in Medical Devices: Applications of Computer Modeling and Simulation, 2013, 10.1115/FMD2013-16080.

- Credible Practice of Modeling & Simulation in Healthcare, SimTK, 2013

- The Committee’s Glossary and Definitions, SimTK, 2013

- Erdemir A et al., Frontiers in Medical Devices: Innovations in Modeling and Simulation, 2015.

- Horner et al., ASME V&V Symposium, 2016.

- The Committee’s Public Forum Discussion on Workflows & Standards & good practices, SimTK, 2015.

- The Committee’s webinar archive, CPMS YouTube Channel, 2015.

- Erdemir, A et al., J. Biomech., Vol. 45, pp. 625-33, February 2012.

- FDA Draft Guidance, Reporting of Computational Modeling Studies in Regulatory Submissions, 2014

- The Committee’s Webinar Forum Discussions, SimTK, 2015

- PAR-15-085 (NIH U01), http://grants.nih.gov/grants/guide/pa-files/PAR-15-085.html, May 22, 2016