A Comparison of Community-Based Guidelines and Standards for the Credible Use of Computational Methods in Healthcare

M. Horner1,2, L. Mulugeta1,2, A. Erdemir1, G. An4, D.M. Eckmann5, J.E. Bischoff1,2, C.A. Hunt1, J. Ku1,

D. Lochner1, W.W. Lytton1, V. Marmarelis1, J.G. Myers1, G. Peng1, M. Steele1 and M. Walton1

1Committee on Credible Practice of Modeling & Simulation in Healthcare - http://wiki.simtk.org/cpms/ 
2V&V40 Sub-Committee under the ASME Standards Committee on Verification and Validation in Computational Modeling and Simulation

Introduction: The role of computational modeling and simulation (M&S) in the development and delivery of healthcare continues to grow at a rapid pace. Consequently, there is a demand within the healthcare community to establish standards and guidelines to ensure M&S will be developed and applied reliably in healthcare practice and research. However, the multidisciplinary nature of healthcare practice and biomedical research, combined with the multi-contextual use and highly diverse maturity levels of biomedical M&S, present significant challenges for establishing unified M&S credible practice standards and guidelines. This presentation will compare and discuss the synergistic efforts of two cross-disciplinary initiatives to identify overlaps and differences in the context of M&S credibility.  The specific initiatives are the Committee on Credible Practice of Modeling & Simulation in Healthcare (CPMS hereafter) and the American Society of Mechanical Engineers (ASME) V&V40 Sub-Committee (V&V40 hereafter).

Materials and Methods: The authors performed a comparative analysis of the two initiatives to identify similarities and differences in their mission statements, stakeholders, end-products, operational approach and credibility workflows. All authors are members of CPMS and/or V&V40 from the early stages of both initiatives.

Results: A side-by-side comparison of CPMS and V&V40 is provided in Table 1.

Table 1: Comparison of CPMS and V&V40 initiatives

|  | CPMS | V&V40 |
| --- | --- | --- |
| Mission statement | To establish credible practice guidelines, consistent terminology and proposed model certification process, as well as to demonstrate workflows and identify new areas of research for reliable development and application of M&S in healthcare practice and research. | Provide procedures to standardize verification and validation for computational modeling of medical devices. |
| Primary stakeholders | Computational M&S in healthcare as a whole – mainly driven by research initiatives under the IMAG Multi-scale Modeling Consortium | Biomedical device industry, and regulatory and standards bodies such as the US Food and Drug Administration (FDA) and ASME |
| End-product(s) | - “Guidelines for Credible Practice of M&S in Healthcare” - Proposed model certification process - Identify new areas of research to advance I & II | - A standard for, “Assessing Credibility of Computational Modeling & Simulation Through Verification & Validation: Application to Medical Devices” - Series of examples that demonstrate application of one or more components of the standard |
| Approach to developing end-product(s) | - Executive Committee (EC) executes mission - Advisory Council provides guidance to the EC - Extensive use of crowd-sourcing of the healthcare and M&S community through surveys, wiki contributions and forum discussions | - V&V40 sub-committee establishes standard direction through consensus - Sub-groups, working groups, and task groups execute tasks related to governing scientific methods, devices, and content writing. |
| General credibility workflow | Apply the Ten Simple Rules of Credible Practice with appropriate intensity for given context of use (Iterative). http://wiki.simtk.org/cpms/Ten_Simple_Rules_of_Credible_Practice | Define context of use → Assess Model Risk → Set Goals For Credibility Factors → Develop and Execute V&V Plan (Iterative) → Document |

Conclusions: The CPMS and V&V40 groups have similar goals with respect to their pursuit to establish procedures for credible application of M&S in medicine. However, they differ significantly with respect to their approach, end-products and target audience. The CPMS aims to establish guidelines, consistent terminology, and a model certification process that are broadly applicable to M&S in healthcare practice and research. Moreover, their work is largely driven by the research community.  The work of V&V40, on the other hand, is dedicated to developing procedures to standardize verification and validation for M&S of medical devices for medical device development and in regulatory applications. Consequently, the V&V40 initiative is largely driven by the medical device industry, and regulatory and standard bodies such as FDA and ASME.

Acknowledgements: The authors acknowledge all members of CPMS and V&V40. Further details about CPMS, V&V40, and the contributing authors can be found at http://wiki.simtk.org/cpms/CPMS_Members and https://cstools.asme.org/csconnect/CommitteePages.cfm?Committee=100108782.