Figure 2. A time synchronized trial is shown with the corresponding forces, moments, and ultrasound images. All forces and moments were transformed to the ultrasound probe tip after gravity compensation. Location: lower arm, anterior, central.
Figure 1. The instrumented ultrasound system. The Optotrak sensors (NDI, Canada) are an example of additional instrumentation.
INSTRUMENTATION FOR MEASUREMENT OF PROBE FORCES AND ORIENTATION DURING FREEHAND ULTRASOUND

 1Tyler Schimmoeller, 1Robb Colbrunn, 1Tara Bonner, 1Mark Lobosky, 1Erica E. Morrill, 1Tammy M. Owings, 1Benjamin Landis, 2J. Eric Jelovsek, 1Ahmet Erdemir

1 Department of Biomedical Engineering, Cleveland Clinic, Cleveland, OH, USA
2Obstetrics, Gynecology & Women's Health Institute, Cleveland Clinic, Cleveland, OH, USA
email: schimmt@ccf.org web: https://simtk.org/projects/multis

# INTRODUCTION

Ultrasound is a non-invasive diagnostic tool commonly used for medical imaging. Most ultrasound imaging is performed freehand where the sonographer holds the probe in contact with the skin, adjusting the probe’s orientation until the target region is located. During anatomical imaging, the force exerted by the probe on the tissue must be minimized to view the tissue in a more anatomically correct, undeformed state. During mechanical manipulation, e.g. indentation, quantifying the forces would enable clinicians and researchers to characterize the mechanics of the tissue. Researchers have previously proposed methods to measure force and orientation, and compensate for gravity (weight of the probe) [1,2]. However, these methods lack design modularity and their feasibility for clinical use has not been established. A more automated and adaptable system appears to be an emerging need.

This paper presents a methodology for instrumenting any ultrasound system to measure probe forces and orientation while meeting the previously stated needs by including the following features: 1) automatic association and temporal synchronization of data collected from multiple systems 2) gravity compensation, 3) easily interchangeable probes, and 4) extensibility to include additional instrumentation.

# METHODS

A device (Fig. 1) was designed to measure forces and orientation during freehand ultrasound use (Acuson S3000, Siemens, USA). The device compensates for gravity by using an inertial measurement unit (VN-100, VectorNav, USA) and a 6-axis load cell (Nano25, ATI Industrial Automation, USA), relying on a custom LabVIEW program (LabVIEW, National Instruments, USA) in conjunction with a mechatronic toolkit (SSCAD Toolkit, Cleveland Clinic, USA). An analog signal unique to a trial supports association and temporal synchronization of data collected by separate systems (ultrasound images, probe forces, and orientation). This signal was similar to an electrocardiogram (EKG) waveform and was sent simultaneously to the force data acquisition system and ultrasound EKG input (Pulse in Fig. 2), where the time instants of signal peaks were stored in the image metadata. A custom Python script was used to associate the ultrasound and force data files based on this information to determine the time difference between data acquisition systems. All force and orientation data were collected using the same custom LabVIEW program on a single computer, making temporal synchronization innate.

An experiment was performed for demonstration purposes, where the device was used in vivo for anatomical imaging and to collect a series of images during indentation. The experiment was performed freehand by the sonographer on the right extremities of a 26 year old caucasian male subject (height 183 cm, weight 90 kg). A total of 24 locations were imaged on each extremity using either the 14L5 or 9L4 ultrasound probes (Siemens), depending on the depth of bone boundary. For anatomical imaging, each location was imaged with minimal resultant force (<2.2 N). Indentation trials were performed immediately after minimal force trials at 4 of the 24 locations on each extremity. This study was approved by the Cleveland Clinic Institutional Review Board and the Human Research Protection Office of the U.S. Army.

# RESULTS AND DISCUSSION

Data files from all locations were automatically associated and time synchronized. The results from a single trial can be seen in Fig. 2, showing four events throughout an indentation. All forces and moments were transformed to the ultrasound probe tip after gravity compensation. The force Fz represents the predominant loading axis (perpendicular to the probe tip). Shear loading (Fx & Fy) is expected due to the freehand operation and the heterogeneous nature of musculoskeletal tissue. Performance of gravity compensation strategy was demonstrated by the near zero-load state before and after indentation.

CONCLUSIONS

A robust instrumentation system was developed that can fully integrate with any existing ultrasound machine that has an EKG input, increasing the accessibility and adaptability of instrumented ultrasound systems. The device may be equipped with additional instruments, including motion capture sensors to track its orientation and position relative to a specimen and other devices (Fig. 1). This methodology is being utilized in a separate study to measure in vivo tissue thicknesses of musculoskeletal extremities for a large group of subjects[3].

REFERENCES

[1] Burcher, M. R., et al., IEEE Trans Ultrason Ferroelectr Freq Control, 52(8), 1330-1342, 2005. [2] Noh, Y., et al., Conf Proc IEEE Eng Med Bio Soc, Milan, 2015, 5773-5776. [3] Morril, E., et al., submitted to ASB’17, Boulder, CO, USA, 2017.

# ACKNOWLEDGMENTS

# This study has been supported by USAMRMC (W81XWH-15-1-0232). The authors would like to thank Siemens Medical Solutions USA, Inc. for loaning the ultrasound equipment.