Open Knee(s): Comprehensive Magnetic Resonance Imaging and Joint Mechanical Testing Data for Next Generation Specimen-Specific Knee Models

Authors

Snehal Chokhandre1,2, Erica Neumann1,2, Craig J. Bennetts1,2, Tara F. Nagle1,3, Robb W. Colbrunn1,3, Chris A. Flask4,5,6,7, Ceylan Colak8, Jason Halloran4, Ahmet Erdemir1,2

Affiliations

1. Department of Biomedical Engineering, Lerner Research Institute, Cleveland Clinic, Cleveland, Ohio, USA
2. Computational Biomodeling (CoBi) Core, Lerner Research Institute, Cleveland Clinic, Cleveland, Ohio, USA
3. BioRobotics and Mechanical Testing Core, Lerner Research Institute, Cleveland Clinic, Cleveland, Ohio, USA
4. Department of Radiology, Case Western Reserve University, Cleveland, Ohio, USA
5. Department of Biomedical Engineering, Case Western Reserve University, Cleveland, Ohio, USA
6. Department of Pediatrics, Case Western Reserve University, Cleveland, Ohio, USA
7. Case Center for Imaging Research, Case Western Reserve University, Cleveland, Ohio, USA
8. Department of Diagnostic Radiology, Cleveland Clinic, Cleveland, Ohio, USA
9. Institute for Shock Physics, Washington State University, Pullman, WA, USA.
Corresponding author(s): Ahmet Erdemir (erdemira@ccf.org)

Abstract

Virtual knees with specimen-specific anatomy and mechanics, require heterogeneous data collected on the same knee. Specimen-specific data such as the specimen geometry, physiological joint kinematics-kinetics and contact mechanics are necessary in the development of virtual knees for clinical and scientific simulations, to capture or evaluate the predictive capacity of the model to represent joint and tissue mechanical response. This document details the collection of comprehensive imaging data and tibiofemoral joint and patellofemoral joint mechanical testing data for a cohort of eight knee specimens representing different populations with varying gender, age and perceived health of the joint. These data are collected as part of the Open Knee(s) initiative. The data provide an opportunity for detailed geometric reconstruction of joint anatomy, when combined with joint mechanics, may allow development and assessment of authentic specimen-specific finite element models of the knee. The data may also guide prospective studies for association of anatomical and biomechanical markers in a specimen-specific manner.

Background & Summary

The human knee joint is a multi-component structure and the substructures in the joint such as cartilage, ligaments, menisci etc. differ significantly from each other both functionally and morphologically. Computational modeling, specifically finite element (FE) analysis, has become increasingly popular to study the mechanics of the knee joint and its underlying structures as well as to develop clinical interventions1,2. Specimen-specific information at anatomical and mechanical level is important in the development of reliable finite element models1. This information becomes even more critical when specimen-specific interventions such as implant development or evaluation of surgical procedures are required. Since knee tissues such as cartilage, menisci and ligaments have geometries that differ from specimen to specimen, it is imperative that the three dimensional model closely represents the actual structures and mechanical behavior in order to aid accurate predictions3,4.

The hard and soft tissue structures that are necessary to incorporate in models to reliably and authentically simulate the passive mechanical response of the knee joint commonly include the bones (femur, tibia, patella), articular cartilage, quadriceps tendon, ligaments (anterior cruciate (ACL), posterior cruciate (PCL), lateral collateral (LCL), medial collateral (MCL), patellar ligament and menisci (medial and lateral)5. The underlying shape of the bones provides the contours through which loads on the joint are transferred and distributed through contact between the articulating surfaces of the cartilage in the tibiofemoral and patellofemoral joints of the knee including menisci in the tibiofemoral joint. The cartilage acts to resist, absorb, and distribute joint loads and provides a low friction articulation within the joint6. The ligaments provide joint stability through tensile engagement and act to constrain the range of motion of the joint7. The menisci conform to the curvature of the opposing surfaces of articular cartilage of the femur and tibia to provide contact load distribution and stability throughout tibiofemoral flexion8. Geometric reconstructions of all these tissues are therefore important to develop mechanically accurate models. Magnetic resonance imaging provides the most detailed modality to delineate these structures. The tissue types of interest have varying molecular compositions, each with distinct electromagnetic resonance signatures that influence the strength of the signal intensity with respect to the particular MRI settings. Therefore, different MRI protocols are required to best delineate the boundaries of each tissue type within the knee.

Tibiofemoral joint (TFJ) mechanics can be measured and quantified by applying known loads at various flexion angles and measuring the resulting kinematic pose of the TFJ under those loading conditions. Various measurements such as range of motion (ROM), stiffness, and laxity can be quantified for the various degrees of freedom (DoF) of the TFJ and used to compare joint mechanics of several TFJs or the same TFJ under different surgical conditions9,10. Modeling the TFJ could provide a useful tool for assessing the resulting TFJ mechanics a surgery might have on the joint. The effects of new devices and surgical techniques can first be tested on a model before using them on patients. Variables such as implant geometry or graft line of action can be perturbed and optimized more quickly and efficiently with no risk to patients. Historically, in knee modeling, TFJ testing data used to evaluate a model’s performance has been collected from different specimens than that of which model components were based, e.g. geometry with few exceptions11. Often times this data is collected from literature and based on averages amongst many specimens12. Even in recent knee models, where specimen-specific joint mechanics data complements specimen-specific imaging, issues related to registration of anatomical images to experimentation coordinate systems (CSs) remain unclear13. Without complete specimen-specific information, the source of disagreements between model predictions and experimentation cannot be ascertained.

Patellofemoral joint (PFJ) specific computational studies are generally less prevalent than experimental or clinical, though recent trends indicate growth in this area. Fernandez and Hunter14 developed a promising generic model of the PFJ articulation, which has inspired multiple studies that focused on prediction of patient specific mechanics15,16. Besier et al.17 published a PFJ model based on in vivo MRI measurements and included quadriceps loading driven by patient-specific electromyography (EMG) signals. Their model predicted cartilage stress and has also been used to evaluate populations with and without patellofemoral pain18. With similar motivation, numerous others have predicted cartilage pressure and/or stress as a function of tissue restraint and joint loading, helping to evaluate both natural and reconstructed patellofemoral joints19,20. Specimen-specific PFJ mechanical data can greatly aid in developing reliable FE models potentially predictive of individualized kinematics of the joint and resulting contact pressures on the patella and the femoral groove.

 The potential of simulation in biomechanics is well recognized and will progress if specimen specific data sets that include joint and tissue level mechanics, in addition to imaging for model generation, are publicly available. In the past years, our research team has launched the Open Knee(s) project (https://simtk.org/projects/openknee) to generate virtual representations of the knee joint21. A set of fully specimen-specific finite element representations have been under development including morphology, tissue-specific material properties, and experimental joint kinematics-kinetics responses for cadaver samples from male and female, young and elderly, and healthy and osteoarthritic donors (Figure 1). The specific goal of this study was to document a set of MRI and joint mechanical testing protocols and data acquired on Open Knee(s) specimens using these. The goal is to ensure compatibility of Open Knee(s) data to F.A.I.R. principles22, to enable the development of the next generation of knee finite element models.

Methods

Specimen overview

The Open Knee(s) project provides data for eight cadaver knee specimens. The target sample population was male and female, young (18-35 years) with healthy cartilage, middle aged (40-65 years) with healthy cartilage, elderly (65-80 years) with a mix of healthy and osteoarthritic cartilage. Other requirements of the individuals from which specimens were obtained included: height (1.5-1.8 m), weight (45-90 kg), and Body Mass Index (BMI, 18.5-24.9 considered to be the normal range). Prior to specimen acquisition, X-rays provided by specimen vendors were evaluated by surgeons to assess overall joint health to decide suitability of the specimen for the study. Specimen-specific details are provided in Table 1.

Specimen preparation

Specimens were obtained from full legs, from the femoral head down to and including the foot. The soft tissue was dissected down to the diaphyses of the femur and tibia, but left intact around the region of the tibiofemoral and patellofemoral joints to preserve their in situ biomechanical environment and maintain hydration of the tissue during imaging and experimentation.

Computational modeling and simulation involves spatial registration of knee joint geometry, derived from anatomical images, with respect to the subsequent mechanical experimentation describing joint kinematics-kinetics. To accomplish this, rapid prototyped registration markers with internal spherical volumes containing an MRI-opaque background substance (solid MRI-transparent external material: VeroClear; MRI-opaque internal material: FullCure705; PolyJet 3D, Stratasys, Minnesota, USA) were rigidly fixed to the bones (femur, tibia, patella). To reduce metal induced imaging artifacts, brass screws were used to secure hardware needed for motion capture system used in joint testing. For the larger bones, femur and tibia, separate spherical registration markers were developed with an outer diameter of 10 mm and three were affixed to each bone. Due to the smaller region for fixation on the patella, a separate rapid-prototyped triad containing three smaller spherical MRI-opaque regions was fabricated to register patellar geometry (to be obtained from images) with experimental patella kinematics. The patella marker triad has 12 divot points and the dimensional relationship between the divots and spheres are known. The centers of these spheres can be calculated from surface coordinates of the spherical geometry from MRI, and from mechanical testing (during which points on the outer spherical surface were digitized for femur and tibia markers and divots for patella marker assembly), to accurately align imaging and mechanical testing coordinate systems.
An optoelectronic camera system (Optotrak, Northern Digital Inc., Waterloo, Canada) was used to track the motions of the bones during testing (tibia, femur and patella). Six DoF motion tracking sensors were assembled from three optoelectronic orthopedic research pin markers to ensure marker visibility throughout flexion angles. Each marker assembly was rigidly placed on each bone. The 6 Dof motion tracking markers were positioned as close to the joint center as possible to minimize effects of bone bending and oriented in a way so they would be visible to the cameras throughout testing.
With the MRI registration spheres and the motion tracking marker assemblies properly secured to each bone, anatomical registration was performed. A custom optoelectronic probe was used to digitize anatomical landmarks and MRI Registration spheres while the leg was fully intact. Ten points were collected on each sphere so that a sphere fit could be calculated, outputting sphere center and diameter. Tibia anatomical landmarks consisted of: T1. Medial tibial plateau (most medial point), T2. Lateral tibial plateau (most lateral point), T3. Medial malleolus of the tibia (most medial point), and T4. Lateral malleolus of the fibula (most lateral point). Femur anatomical landmarks consisted of: F1. Lateral epicondyle of the femur (most lateral point), F2. Medial epicondyle of the femur (most medial point), and F3-F6. 4 points around the epiphyseal line of the femur. Each probed point was collected along with a snapshot of the 6 DoF motion tracking marker attached to the respective bone. For the patellofemoral joint experimentation, the location of the 12 divot points is acquired. To determine the centers of the spheres in the patella marker assembly, the dimensional relationship of the divots and centers of the spheres in the marker assembly is used. The location of the file describing this relationship is provided in the Data records section. Anatomical landmarks on patella were acquired at the most lateral point, most medial point, most superior point and the most inferior point. The quadriceps line of action was also digitized at neutral joint state. The order of digitization is inferior point, center point, and superior point

Once all the points were collected, the diaphyses of the femur and tibia were transected so that the overall length of the specimen was ~381 mm, symmetric about the tibiofemoral joint (~190.5 mm to either side), in order to fit it into both the experimental joint testing system and a specimen transportation tube for MRI.

MRI

Initial MRI settings to delineate each tissue type were adopted from the protocols of the Osteoarthitis Initiative (OAI)23. An iterative process of seven imaging trials were conducted to refine these initial protocols to best delineate the desired knee structures using a Magnetom Skyra, 3 Tesla clinical MRI machine (Siemens medical solutions USA, Inc. Malvern, PA, USA) with a knee receiver coil. The receiver coil was 256 mm long with a 154 mm inner diameter. The goals in tuning the MRI parameters were to maximize image resolution and tissue contrast while accommodating a total image acquisition time of less than 2 hours. A resulting set of three different MRI protocols were chosen with the intention of identifying: 1) all structures and registration markers as a general-purpose reference, 2) cartilage and possibly menisci, and 3) connective tissue, including ligaments, tendons, and possibly menisci. The general-purpose imaging protocol was a 3D T1-weighted sequence without fat suppression, with an isotropic resolution of 0.5×0.5×0.5 mm, echo time (TE) of 6.01 ms, and repetition time (TR) of 20 ms . The cartilage imaging protocol was a 3D T1-weighted sequence with fat suppression, having an anisotropic resolution of 0.35×0.35×0.7 mm, TE of 5.34 ms, and TR of 29 ms. The connective tissue imaging protocol was a proton-density, turbo spin echo sequence with an anisotropic resolution of 0.35×0.35×2.8 mm, TE of 9.7 ms, and TR of 10,000 ms. The connective tissue imaging protocol was acquired in the three standard anatomical orientations, with the high-resolution in-plane dimension (0.35 x 0.35 mm) lying in the axial, sagittal and coronal planes of the knee. Details of MR sequence settings can be found in Table 2. The reference imaging coordinate systems remained the same for all three scanning protocols, which allows the components of the knee model, defined from the appropriate image sequence, to be easily combined spatially. Specimens were inserted femur first in the MRI machine (with the exception of oks002). MRI was obtained in the DICOM medical image format (https://www.dicomstandard.org/) and converted to NIfTI format for distribution (https://nifti.nimh.nih.gov/).

Tibiofemoral joint testing

Once imaging was completed, the MRI registration markers were removed. The fibula was secured to the tibia by pre-drilling through the fibula and tibia and driving a screw through both bones as close to the joint center as possible. Efforts were made to maintain anatomical relative positions between the two bones. The fibula was sawed off just distal to the screw.

Both the tibia and femur ends were rigidly secured to 3 inch long and 2.5 inch diameter aluminum tubes. Each bone was potted individually. The end of the bone was placed down into the center of the tube. Melted woods metal was poured into the tube and the bone was held in place until the metal hardened. Efforts were made prior to potting to ensure the 6 DoF motion tracking markers could be secured with the pot in place. Efforts were also made to ensure the total end-to-end length was 15 inch after potting and that the two metal tubes were close to be in line with each other when the knee was at full extension. Two drill bits were cross drilled into each tube to prevent spinning or any pulling out of the woods metal in the tube. They were drilled towards the end of the tube closest to the joint center.

Testing was performed on a 6 DoF parallel robot (Rotopod R-2000, Mikrolar, Hampton, NH) with a custom rotary stage mounted to the top to yield a 7th DoF for increased range of motion. Loads were measured with a 6-axis universal force sensor (UFS) (Theta, ATI, Apex, NC) rigidly attached to the frame. Joint kinematics and kinetics were controlled and measured using simVITROTM software (simVITRO, Cleveland Clinic, Cleveland, OH) which was developed using LabVIEW (National Instruments, Austin, TX). Prior to testing, the robot and UFS coordinate systems were registered in the software by collecting points using the optoelectronic probe and establishing spatial relationships. The UFS was tared and general estimations of the potted tibia mass (13-22 N) and center of mass (75 mm) was accounted for. The tibia pot was then mounted to a fixture rigidly attached to the UFS and the robot was driven so the femur pot could be mounted to it with the knee extended. Once the specimen was attached, the robot position was fine-tuned using the SimVITROTM software to achieve close to zero loads on the UFS. Details of the procedure are documented in simVITRO_setup_tutorial.pdf which can be found at https://simtk.org/plugins/moinmoin/openknee/Infrastructure/ExperimentationMechanics. This was considered as the neutral position of the knee. With the motion tracking markers secured to each bone, a snap shot was taken of each 6 DoF motion tracking marker and the robot position. Using the spatial relationship between the anatomical points of each bone and the respective 6 DoF motion tracking marker, coordinate systems and spatial relationships between the hardware and the specimen were established. These spatial relationships allowed the joint coordinate system (JCS) of the knee(Knee Coordinate Systems.pdf
in https://simtk.org/plugins/moinmoin/openknee/Infrastructure/ExperimentationMechanics), as an adaptation of Grood and Suntay24, to be calculated with sensors in two different ways; 1: using robot position and 2: using the 6 DoF optoelectronic motion tracking sensors. Tibia loads were measured by transforming loads measured by the UFS to the tibia coordinate system.

An optimized version of the knee joint coordinate system was then established. The tibiofemoral joint underwent passive flexion from 0° to 90° with a 50 N compression load. The position and orientation of the femur coordinate system was optimized to minimize the off-axis translations and rotations during the passive flexion motion. This process is intended to isolate the functional mechanical axis of the tibiofemoral joint. Some limitations with this approach may exist in that the screw home mechanism, i.e. off-axis rotations, may be minimized. Once the optimized coordinate system had been established, the knee was fully extended and positioned in a zero loaded state so that the neutral position could be reestablished. Passive flexion was performed again to verify that off-axis motions were decreased.

The tibiofemoral joint underwent preconditioning where the joint was positioned at 30° flexion and laxity loads of ± 5 Nm internal iotation (IR) torque, ± 10 Nm varus torque, and ±100 N anterior drawer were applied sequentially on the tibia, in the tibia fixed coordinate system. Testing protocols were adapted from Borotikar25 . Two general types of tests were performed; laxity loading and combined loading. Both testing types were performed at 0°, 30°, 60° and 90° flexion and a 20 N compression load was applied throughout testing. The laxity loading consisted of incrementally ramping and holding internal/external rotation torque, varus/valgus torque and anterior/posterior force sequentially. Ranges of 0 to ± 5 Nm of IR torque was applied at increments of 1 Nm with 10 second holds after each incremental increase. Ranges of 0 to ± 10 Nm of varus torque was applied at increments of 2.5 Nm with 10 second holds after each incremental increase. Ranges of 0 to ± 100 N of anterior drawer force was applied at increments of 10 N with 10 second holds after each incremental increase. The combined loading consisted of all permutations consisting of IR torque of -5, 0, and 5 Nm, varus torque of -10, 0, and 10 Nm and anterior drawer of -100, 0, and 100 N. For each permutation, a 12 second hold was maintained. A repeatability test was performed three times throughout testing; (1) beginning, after preconditioning, (2) middle, prior to flexing to 60°, and (3) end, after completing all testing. The repeatability test was an anterior drawer laxity test (0 to ± 100 N applied at increments of 10 N with 5 second holds) performed at 30 ° flexion.

Patellofemoral joint testing

The patellofemoral joint coordinate system adopted Grood and Suntay (1983) for description of the patella-femoral kinematics. The anatomical landmarks for the patella coordinate system matched those recommended by Kedgley et al.26 . To measure the patellofemoral contact mechanics (contact pressure distribution, area, and total force) a Tekscan (Boston, MA) sensor (5051, 8.27 MPa range) was utilized. The sensor was plugged into a computer running Tekscan software (version 7.6). To protect the sensor from the environment of the joint it was sealed using a lamination sheet. A two step equivalencing and calibration process was completed. Two-point equivalencing was performed using a pressure bladder system to evenly load the Tekscan sensor at 300 kPa and 600 kPa. A 5 point calibration was completed using an Instron 8511 (Instron, Norwood MA) test frame with loads of 50, 100, 200, 400, and 600 N. The sensor was supported by a flat aluminum plate with 4 sheets of 0.3 mm thick rubber and the Instron compressed the sensor with a baseball as an indenter. The manufacturer recommended that the sensor be loaded using items of similar stiffness and geometry as a patellofemoral joint and the baseball and rubber topped plate were selected as an approximation of these conditions. Following joint level testing in the robot the sensor was returned back to the calibration setup and the calibration process was repeated. Two calibration files (before and after) were created in order to bound the potential uncertainty in the pressure measurements.

The specimen was then secured to the 6 DoF parallel robot. The tibia was secured to two 6 DoF force-torque sensors (SI-1900-80, ATI Industrial Automation, Apex, NC) embedded in a custom stage rigidly attached to the robot. These sensors were used to measure force vectors applied to the tibia by the femur and provide feedback needed to drive the robot. The femur was mounted pointing upwards, attached to the stationary frame and the tibia was attached to the moving frame through the load transducer. Gravity compensation of the calculated tibia loading was provided by simVITROTM. A quadriceps loading system was developed utilizing a Baldor (Fort Smith, AR) model BSM80N-275AE servomotor and a harmonic drive system (CSG-40-50, Hauppauge, NY). The quadriceps tendon was held by a custom wire mesh grip (DCD Design and Manufacturing Ltd., Richmond BC, Canada) and frozen with liquid nitrogen. Quadriceps line of action was set to approximate the sulcus defined (inferior-superior) direction of the trochlear groove and was measured relative to the femoral coordinate system. Quadriceps loading was applied under force feedback control synchronized with the robot to achieve a desired joint loading state. The Tekscan sensor was inserted in the patellofemoral joint to measure contact mechanics.
A kinetics based neutral position (minimal loading) was established once the femur was set to 0° flexion angle by operating the robot in force control mode similar to the tibiofemoral joint testing. Then, the tibiofemoral joint was moved through a passive flexion motion from 0° to 60° flexion with a 50 N compressive load. The femur coordinate system was then optimized to minimize the change in joint translations and off-axis rotations throughout the flexion cycle. This process was used to define a functional mechanical axis of the femur similar to the tibiofemoral joint testing.. Following the optimization, the kinetics based neutral position was re-established with the new coordinate system. Patellofemoral mechanics and kinematics were characterized under quadriceps loading at tibiofemoral flexion angles of 0°, 15°, 30°, 45°, and 60°. At each flexion angle the tibiofemoral joint was set to a position approximating passive flexion ( 20 N tibiofemoral compression, and all other off-axis loads minimized). Then, the tibiofemoral kinematics were fixed and the quadriceps loads were applied at 20, 100, 200, 300, 400, 500, and 600 N. At each loading state, the patellofemoral contact mechanics, patellofemoral kinematics, tibiofemoral kinematics, and tibial loads were measured for approximately 5 seconds. At each flexion angle at 20N quadriceps load, patellofemoral contact patch was verified to be approximately at the center of the sensor.
Coordinate system considerations for joint mechanical testing
Data acquisition system, simVITROTM, utilizes "right knee abstraction" for control and data collection so that the data from multiple specimens can easily be combined regardless of whether or not the specimen was actually from the right or left side. However, for specimen specific modeling and combining kinematic data with imaging data sets, the data, including kinematics-kinetics information and coordinate transformation matrices need to be transformed back to "physical representation" for the left knees to achieve appropriate description in the physical space. The transformations are mirroring operation. Further details are available at the Infrastructure/ExperimentationMechanics pages of the project Wiki, specifically in the file Infrastructure/ExperimentationMechanics/Knee Coordinate Systems.pdf

Code Availability
All open source code used for obtaining all necessary transformations, data analysis and visualization for both the joint mechanical testing data and the pressure data are disseminated at Open Knee(s) project site (https://simtk.org/home/openknee) in source code repository at https://simtk.org/svn/openknee/utl/Registration/Registration_final/ and https://simtk.org/svn/openknee/utl/PressureAnalysis/ A static copy of the Python scripts and instructions for their usage are also provided through Data Citation 1.
Data Records

Open Knee(s) is a free and open source, open development modeling project primarily focusing on finite element analysis of the knee. Experimentation and modeling specifications along with an evolving amount of specimen-specific data and models, and various scripts can be accessed in the “Downloads” section at http://wiki.simtk.org/openknee and the source code repository https://simtk.org/svn/openknee/. A static version of the data is accessible through Data Citation 1.

Images were originally acquired in the standard DICOM format, with each two dimensional (2D) image slice comprising the three dimensional (3D) volume stored in separate files. 3D Slicer (https://www.slicer.org/) and SimpleITK (http://www.simpleitk.org/) were used to simplify management and distribution of MR images by combining associated sets of corresponding 2D slices into a single file of the Neuroimaging Informatics Technology Initiative (NIfTI, .nii) format. Table 3 provides a detailed description of the specimen-specific image sets with imaging protocol and image set labels.

Joint mechanics data was taken for both tibiofemoral and patellofemoral testing and was organized in separate folders for each specimen (Appendix A1). Folder for tibiofemoral joint contains kinematics-kinetics data (in technical data management solution (TDMS file format, http://www.ni.com/product-documentation/3727/en/ , contents described in appendix Table A2) and configuration subfolders (contents of configuration files are detailed in appendix Table A3). Folder for patellofemoral joint contains subfolders for kinematics-kinetics data and contact pressures. For both test sets, the configuration folder contains information on anatomical landmarks, registration marker locations, coordinate systems, etc. (appendix Table A2). It should be noted that data on patella registration marker assembly can be found in the tibiofemoral joint kinematics-kinetics folder as the data was collected at the specimen preparation session immediately before tibiofemoral joint testing. This data includes a file (CAD_PT_DIMENSIONS.txt) indicating location of points on the 3D printed MRI compatible patella registration marker assembly in CAD. This file can be found in the source code repository-https://simtk.org/websvn/wsvn/openknee/utl/PatFem_Registration/ All joint testing files, including raw and processed kinematics-kinetics data, coordinate transformation matrices, contact pressure measurements, etc. are also disseminated at Open Knee(s) project site (https://simtk.org/home/openknee).

Technical Validation

MRI

As five sets of images were acquired to target specific structures, a preliminary comparison is performed to assess their adequacy. Figure 2 provides an overview of each type of image set and a comparison between different data sets to demonstrate that the image sets do provide better details for the structures that they were targeted for (femoral cartilage in this case). A manual image segmentation was also performed using 3D Slicer (https://www.slicer.org/). User evaluation of the image sets indicated the data set's sufficiency to delineate the boundaries of tissues of interest. It is important to note that these protocols may not be appropriate for in vivo model development as the scans take more than an hour to complete. It is important to note that, specimen oks002 was inserted foot first in the scanner resulting in inverted images. In addition, the coronal image set for ligament specific scans is missing for oks004 (a repeated sagittal image set was accidentally acquired instead).

To evaluate the adequacy of the data set in ascertaining tissue quality, the image sets were assessed by a trained radiologist. The methodology used here for scoring the MRI were based on those reported by Meredith et al27. The scales for evaluating cartilage and bone marrow lesions were based on previous reports28. Cartilage damage score (CDS) developed by Meredith et al was used to capture the total cartilage health. It was calculated as the sum of all cartilage damage severity and lesion size scores across all regions of the knee. Categories of none, mild, moderate and severe for cartilage signal and for cartilage lesion size were used with a score of 0 (not present) to 3 (severe). Cartilage was evaluated in 17 different regions (anterior, middle and posterior thirds of medial femoral, lateral femoral, medial tibial and lateral tibial as well as three patellar regions and two trochlear regions). Overall cartilage damage was categorized as none (0), mild (1-30), moderate(31-60) and severe (>60). The scores for all osteophytes in a compartment were totaled and scored from 0 to 3 which translates into not present to severe. Subchondral sclerosis was similarly reported as present or absent for the medial, lateral and patellofemoral knee compartments and then final score determined by number of the three knee compartments with evidence of sclerotic change. Since the MRI were obtained postmortem, synovitis, bone marrow edema and effusion could not be graded exactly but a suboptimal evaluation was provided. Radiological examination also included gross evaluation of ligament and meniscus tissue for apparent damage. For further details see Table 4.

Joint mechanical testing

Estimates of registration errors between experiment and imaging were calculated using data on spherical marker sets on femur, tibia and patella. These spheres were reconstructed from the digitized points from experimentation and centres were calculated. Similarly, spheres were reconstructed from MRI segmentation and centres for those are also calculated. The distances between markers on each rigid body/bone were subsequently calculated and a comparison of the average distances between experimentation and imaging were obtained as registration errors. Average registration errors are reported in Table 5.
Data were resampled for ease of use for driving the finite element models and comparison with the model output. For passive flexion, data points are taken from indices corresponding to 5° flexion increments using desired kinematics data. For all other trials, data points are taken from indices where consecutive values are the same from the desired kinetics data. The final index at which the values are the same are saved for plotting.  All the Python scripts are available on the project site. Specimen oks003 is used here for demonstration. Figure 3 shows the raw laxity and combined loading results for oks003.
The AP Laxity data from the repeatability tests were considered to quantify the repeatability of testing and possible relaxation of the joint throughout testing. The range of motion (ROM) between the ±100 N anterior drawer extremes were calculated by averaging the last 0.25 seconds at the end of each hold (Table 6). Pressure maps were obtained for each loading combination from the patellofemoral joint testing. Figure 5 shows the pressure distribution for 60 flexion with 100 – 600 N quadriceps loads applied in 100 N increments for oks003.

Usage Notes

All the data is available in the “Downloads” section, at http://wiki.simtk.org/openknee. A static copy of the data created at the time of publication is available at Data Citation 1. A growing amount of derivative data such as geometries, processed data etc obtained from these data sets are available at https://simtk.org/svn/openknee/
The instructions on how to use the Python scripts to process the data for modeling and simulation are provided in the Data Citation 1.

Acknowledgements
This study was part of the Open Knee(s) project, which was funded by the National Institute of General Medical Sciences, National Institutes of Health (NIH) under Grant R01GM104139 (Principal Investigator: Ahmet Erdemir). Insights provided by the Open Knee(s) Advisory Board (Jack Andrish, Morgan Jones, Paul Saluan, Carl Winalski, Yasin Dhaher, Trent Guess and Rami Korhonen) are greatly appreciated. Dr. Winalski provided his expertise to design and evaluate magnetic resonance imaging protocols. Dr. Andrish and Dr Jones evaluated the specimens. Shannon Donnola at the Case Western Research University provided guidance with developing MRI protocols and MRI data acquisition. Up-to-date information on Open Knee(s) project can be found at https://simtk.org/projects/openknee.

Author contributions
Snehal Chokhandre contributed to conceptualization and execution of magnetic resonance imaging and joint mechanical testing workflow including specimen preparation and acquisition of data; assisted in organization of data sets and dissemination; She reviewed, added to and completed the drafts of the manuscript, and approved the final version to be published.

Erica Neumann developed Python scripts for data registration and re-sampling for utilization in future modeling and simulation; reviewed and contributed to the drafts of the manuscript, and approved the final version to be published.

Craig J. Bennetts contributed to the conceptualization of the work; led the execution of magnetic resonance imaging workflow including specimen preparation, and acquisition and interpretation of data; assisted in joint mechanical testing workflow, organization of data sets and dissemination; outlined and provided the first draft of the magnetic resonance imaging component of the manuscript and approved the final version to be published.

Tara F. Nagle assisted in conceptualization and execution of magnetic resonance imaging workflow including specimen preparation, led the execution of joint mechanical testing; created first draft of the tibiofemoral joint testing component of the manuscript reviewed and contributed to the drafts of the manuscript, and approved the final version to be published.

Robb W. Colbrunn assisted in conceptualization and execution of magnetic resonance imaging and joint mechanical testing workflow including specimen preparation; created first draft of the patellofemoral joint mechanical testing component of the manuscript; reviewed and contributed to the drafts of the manuscript, and approved the final version to be published.

Chris A. Flask assisted in execution of magnetic resonance imaging workflow including support for the design and evaluation of magnetic resonance imaging protocols and acquisition of data; reviewed and approved the final draft of the manuscript to be published.

Ceylan Colak evaluated all the MRI sets for tissue quality; reviewed and contributed to the drafts of the manuscript, and approved the final version to be published.

Jason Halloran assisted in conceptualization and execution of magnetic resonance imaging and joint mechanical testing workflow including specimen preparation; contributed to the first draft of the patellofemoral joint mechanical testing component of the manuscript; reviewed and contributed to the drafts of the manuscript, and approved the final version to be published.

Ahmet Erdemir led the conceptualization of the work; assisted in execution of magnetic resonance imaging and joint mechanical testing workflow including interpretation of data; led the organization of data sets and dissemination; outlined, reviewed and contributed to the drafts of the manuscript, and approved the final version to be published.

Competing interests

Robb W. Colbrunn and Tara F. Nagle receive royalties from each copy of simVITRO® software sold under a licensing agreement from the Cleveland Clinic Innovations. Ahmet Erdemir owns and operates innodof, LLC, a consulting company for modeling and simulation. The remainder of author(s) declare no competing interests.

Figures
See figures document

Tables
See tables document

References
1.	Kazemi, M., Dabiri, Y. & Li, L. P. Recent Advances in Computational Mechanics of the Human Knee Joint. Computational and Mathematical Methods in Medicine https://www.hindawi.com/journals/cmmm/2013/718423/ (2013) doi:10.1155/2013/718423.
2.	Peters, A. E., Akhtar, R., Comerford, E. J. & Bates, K. T. Tissue material properties and computational modelling of the human tibiofemoral joint: a critical review. PeerJ 6, e4298 (2018).
3.	Meng, Q., Fisher, J. & Wilcox, R. The effects of geometric uncertainties on computational modelling of knee biomechanics. Royal Society Open Science 4, 170670 (2017).
4.	Li, G., Lopez, O. & Rubash, H. Variability of a three-dimensional finite element model constructed using magnetic resonance images of a knee for joint contact stress analysis. J Biomech Eng 123, 341–346 (2001).
5.	Erdemir, A. et al. Deciphering the ?Art? in Modeling and Simulation of the Knee Joint. J Biomech Eng (2019) doi:10.1115/1.4043346.
6.	Lu, X. L. & Mow, V. C. Biomechanics of articular cartilage and determination of material properties. Med Sci Sports Exerc 40, 193–199 (2008).
7.	Woo, S. L., Debski, R. E., Withrow, J. D. & Janaushek, M. A. Biomechanics of knee ligaments. Am J Sports Med 27, 533–543 (1999).
8.	Allen, A. A., Caldwell, J. & Fu, F. H. Anatomy and biomechanics of the meniscus. Operative Techniques in Orthopaedics 5, 2–9 (1995).
9.	Inderhaug, E., Stephen, J. M., Williams, A. & Amis, A. A. Biomechanical Comparison of Anterolateral Procedures Combined With Anterior Cruciate Ligament Reconstruction. Am J Sports Med 45, 347–354 (2017).
10.	Murakami, K. et al. Variable tibiofemoral articular contact stress in fixed-bearing total knee arthroplasties. Orthopaedics & Traumatology: Surgery & Research 104, 177–183 (2018).
11.	Ali, A. A. et al. Combined measurement and modeling of specimen-specific knee mechanics for healthy and ACL-deficient conditions. J Biomech 57, 117–124 (2017).
12.	Kiapour, A. et al. Finite Element Model of the Knee for Investigation of Injury Mechanisms: Development and Validation. J Biomech Eng 136, 0110021–01100214 (2014).
13.	Harris, M. D. et al. A Combined Experimental and Computational Approach to Subject-Specific Analysis of Knee Joint Laxity. J Biomech Eng 138, 0810041–0810048 (2016).
14.	Fernandez, J. W. & Hunter, P. J. An anatomically based patient-specific finite element model of patella articulation: towards a diagnostic tool. Biomech Model Mechanobiol 4, 20–38 (2005).
15.	Fernandez, J. W., Akbarshahi, M., Crossley, K. M., Shelburne, K. B. & Pandy, M. G. Model predictions of increased knee joint loading in regions of thinner articular cartilage after patellar tendon adhesion. J. Orthop. Res. 29, 1168–1177 (2011).
16.	Akbarshahi, M., Fernandez, J. W., Schache, A. G. & Pandy, M. G. Subject-specific evaluation of patellofemoral joint biomechanics during functional activity. Med Eng Phys 36, 1122–1133 (2014).
17.	Besier, T. F., Gold, G. E., Beaupré, G. S. & Delp, S. L. A modeling framework to estimate patellofemoral joint cartilage stress in vivo. Med Sci Sports Exerc 37, 1924–1930 (2005).
18.	Besier, T. F. et al. The Role of Cartilage Stress in Patellofemoral Pain. Med Sci Sports Exerc 47, 2416–2422 (2015).
19.	Elias, J. J. & Cosgarea, A. J. Computational modeling: an alternative approach for investigating patellofemoral mechanics. Sports Med Arthrosc Rev 15, 89–94 (2007).
20.	Fitzpatrick, C. K., Baldwin, M. A. & Rullkoetter, P. J. Computationally efficient finite element evaluation of natural patellofemoral mechanics. J Biomech Eng 132, 121013 (2010).
21.	Erdemir, A. Open Knee: Open Source Modeling and Simulation in Knee Biomechanics. J Knee Surg 29, 107–116 (2016).
22.	Wilkinson, M. D. et al. The FAIR Guiding Principles for scientific data management and stewardship. Sci Data 3, 160018 (2016).
23.	Peterfy, C. G., Schneider, E. & Nevitt, M. The osteoarthritis initiative: report on the design rationale for the magnetic resonance imaging protocol for the knee. Osteoarthr. Cartil. 16, 1433–1441 (2008).
24.	Grood, E. S. & Suntay, W. J. A joint coordinate system for the clinical description of three-dimensional motions: application to the knee. J Biomech Eng 105, 136–144 (1983).
25.	Borotikar, B. Subject Specific Computational Models of the Knee to Predict Anterior Cruciate Ligament Injury. ETD Archive (2009).
26.	Kedgley, A. E., McWalter, E. J. & Wilson, D. R. The effect of coordinate system variation on in vivo patellofemoral kinematic measures. Knee 22, 88–94 (2015).
27.	Meredith, D. S. et al. Empirical evaluation of the inter-relationship of articular elements involved in the pathoanatomy of knee osteoarthritis using magnetic resonance imaging. BMC Musculoskelet Disord 10, 133 (2009).
28.	Neumann, G. et al. Prevalence of labral tears and cartilage loss in patients with mechanical symptoms of the hip: evaluation using MR arthrography. Osteoarthr. Cartil. 15, 909–917 (2007).

Data Citations
1. Erdemir, A. et. al. DataCite DOI. – DOI (will be requested once organization of static copy of data is agreed upon by all the authors.)
Data static copy – archive.simtk.org/oks/MRI_JointMech/