This document was prepared in response to our previous submission SDATA-18-00301. The current submission includes the imaging data presented in SDATA-18-00301 as well as specimen specific joint mechanical characterization data. We believe that the additional data strengthens the proposed goals of the study. We have addressed the concerns raised in the previous submission which are relevant to the current submission. In the remainder of the document, the reviewer comments are in emphasis and our responses are in normal typeface.

Reviewer #1
General Comments:
The investigators present a study, the goal of which was to document a series of MRI protocol for Open Knee specimens that are “better suited for the development of next generation of knee finite element models”. Unfortunately, no actual assessment of the image protocols was performed with regards to verification of the scan parameters with respect to image quality, signal to noise ratio, contrast to noise ratio, ease of segmentation, or indeed repeatability of the segmentation.

We thank the reviewer for his/her assessment. The imaging protocols were developed using the protocols outlined by the Osteoarthritis Initiative18 and recommendations from the imaging expert on our team Dr. Chris Flask. The final protocols were developed based on confirmation that the structures to be modeled can be visually identified. Therefore, only the ease of segmentation was assessed. Our goal statement reflects that the availability of this extent of specimen specific data which is publicly available will enable development of next generation of finite element models. Only one study currently has both anatomical and joint mechanical data publicly available besides Open knee(s). The imaging data in this study is only obtained in one orientation thus limiting the anatomical information that can be obtained. The specimen specific anatomical and mechanical characterization data obtained for Open Knee(s) specimens is, to the best of our knowledge the most comprehensive such data set publicly available geared towards building finite element models of the knee.

Specific Comments:
1. Background and Summary
a. Line 47 - References related to well-established knee models and methods by Fregly et al. are not included.
b. Line 66 - While it is likely that different anatomy will require different protocols, previous studies have been developed and validated protocols for cartilage thickness.
c. Line 74 - The investigators indicate that “most MRI studies… are mostly focused on one tissue type.” This is in fact not true, as standard knee protocols evaluate multiple tissue types composed of ligaments, fibrocartilage meniscus, articular cartilage, synovium, bone etc.
d. Line 100 - Investigators indicate that “the specific goal” of the study was to identify protocols that are “better suited for the development of next generation of knee FE models”, but no comparison was performed between different protocols to assess this improved performance.

a. As the main focus of Dr. Fregly’s studies is musculoskeletal modeling the studies were not referenced at the location suggested. However, the Grand Knee Challenge was acknowledged with other openly available specimen-specific knee data sets (line 86).
b. The sentence was not included in the current submission.
c. The sentence was not included in the- current submission.
d. The inclusion of various imaging sets and detailed joint mechanical testing data for multiple specimens has provided us with an extensive data set to build and validate finite element models of the knee. As per our knowledge, this is the most comprehensive data set publicly available and can enable development of knee finite element models supported by both specimen specific anatomy and joint mechanics. Additionally, the term ‘better suited’ has been removed.

2. Methods Registration Markers
a. Line 112-114 – The investigators obtain x-rays of the specimens to determine “overall joint health to decide suitability”. This needs to be clarified; what was considered an “unhealthy joint”, and what degree of osteoarthritis based on the x-ray was deemed unsuitable?
b. Line 135 - Please provide accuracy of registration using MRI compatible markers.
c. Line 149 - Reference 23 is incomplete.

a. The orthopedic surgeons on our advisory board assessed the x-rays to ensure no sign of injury or previous surgery at the joint. Appropriate text is added at line 107.
b. Registration errors are provided in Table 5.
c. Reference not included in this submission.

3. MR Protocols
a. Line 155 - It is uncertain how the acquisition parameters were “tuned”. How were images evaluated to know if they were of sufficient quality and were indeed improved based on the change in parameters? Was signal to noise assessed in a comprehensive manner, and similarly, was contrast to noise ratio between structures assessed? Overall, the protocol is fairly outdated, using a 3D T1-weighted gradient echo sequence. The proton density sequence shows a TE of 9.7 milliseconds, which is relatively short for cartilage sensitivity, combined with an extremely long TR of 10,000 milliseconds. Justification for the protocols is not provided.

a. The imaging protocols were based on the protocols developed by the Osteoarthritis Initiative18, and were guided by the imaging expert Dr Chris Flask on our team. The adequacy was determined by the ability of the users to identify structures to be modeled. Therefore, only ease of segmentation was used to assess the adequacy of the images. This limitation is noted in the technical validation section at line 379.

4. Technical Validation
a. Line 198 - Please indicate the experience of the training radiologist with regards to board certification, specialty fellowship training and how many years of experience were obtained at the time of the study.
b. Line 199 - The methodology to score the MR images was reportedly published by Meredith et al, and it is unclear whether this classification has been assessed for repeatability, published in BMC Muscular Skeletal disorders in 2009. Currently, most cartilage on MRI is scored utilizing a WORMS score, Boston knee score, or alternatively, a modified Noyes score based on an Outerbridge or ICRS classification.
c. Line 216 - The ligaments and menisci were assessed for “apparent damage” which is nebulous at best. Were subtle changes such as partial tears of the ligament with regards to the specific bands of the ligament assessed (for example, anteromedial versus posterolateral ACL bands)? In addition, meniscal “damage” is very unclear, which could range from everything from mild intrasubstance degeneration to a radial split with loss of meniscal function.

a. The tissue quality assessment provided with this submission was performed by by Dr Ceylan Colak who is currently completing fellowship in Diagnsotic Radiology at the Cleveland Clinic, Cleveland, OH. She completed her residency in Turkey in 2017 and has three years of experience working at musculoskeletal radiology imaging laboratory at the Cleveland Clinic.
b. The tissue quality assessment was redone for this submission using the MRI Osteoarthritis Knee Score (MOAKS)25. A detailed assessment is provided in Table 4. The MOAKS score is developed based on the Boston Leeds OAKnee Score (BLOKS) 25
c. Lines 310-411 “Radiological examination also included gross evaluation of ligament and meniscus tissue for apparent damage.” indicate the extent of assessment of meniscal tissue and ligaments. Meniscus morphology and extrusion were assessed. Details of measure of assessment are provided in lines 398-403. as per the radiologist , the field of view of images is larger than usual clinical MRIs hence small tears in ligaments and menisci may not be visible. Further details are provided in Table 4.

5. Image Segmentation
a. Line 221 - How are the authors defining ‘adequacy’ of the image datasets? One may interpret that the images are adequate if there is high repeatability of the measurements being made. Was any type of intra- or inter-examiner repeatability performed? Please see: Eckstein F, Glaser C. Measuring cartilage morphology with quantitative magnetic resonance imaging. Semin Musculoskelet Radiol. 2004 Dec; 8(4):329-53.

a. Adequacy of image sets were visually assessed for identification of tissue boundaries by 5 users during the development of MRI protocols. In addition, Figure 3 provides an example of inter user segmentation variability for three users. Please note that the segmentations were performed by users with varying levels of experience with both identification of structures and using the segmentation software.
6. Figure 1
How does tissue mechanical testing related to adequacy of an imaging protocol?

The figure’s utility is to describe the overall data needed to build specimen-specific finite element models (focus of the Open Knee(s) initiative) which include anatomical information and, joint and tissue mechanical characterization data (focus of this article).

7. Figure 5
Was any type of smoothing applied to the surface mesh files?
Figure 5 is not included in this submission. Figure 2 in this submission provides an example of suitability of an MRI set for its intended purpose (cartilage set best suited for cartilage segmentation). In computational modeling, anatomical representation commonly requires a series of smoothing and parameterization steps . In this manuscript, note, only raw segmentations are utilized to evaluate quality of delineation of boundaries at a foundational level.
Reviewer #2:
This paper provides and identifies a set of MRI protocols for the reconstruction of subject-specific knee joints, it lacks a little more work to provide a more complete answer.
The goal of this study is to identify, utilize, and document a set of MRI protocols for Open Knee(s) specimens that are better suited for the development of the next generation of knee finite element models. However, as shown in Figure 5, 3D modes of the knee bones (femur, tibia, fibula, and patella) were not anatomically reconstructed, and they lost some anatomical features. In fact, the contact surface of the femur and tibia is very smooth, so the load is evenly transmitted in the knee joint. Based on the knee joint model offered by this study, the results of the finite element analysis may be not accurate. Using MRI image, it is difficult to anatomically reconstruct 3D models of the knee bones.

In the manuscript, the MRI scans take more than an hour to obtain all the MRI image data, which limits the clinical application of this approach.
In the manuscript, registration markers were made to fuse the MRI image data. Actually, the registration process should have different degrees of error. But the manuscript does not mention any work to evaluate and control the error.

To date, many 3D models of knee joint have been reported in the literatures. The manuscript should compare anatomical accuracy of the model and analyze advantages of the method with other reports.
Our goals in this submission now encompass a larger data set that includes not only the imaging data (from the previous submission) but also the associated joint mechanical characterization data. This comprehensive data set is geared towards providing the foundational data required to build specimen specific finite element models. The data set is to the best of our knowledge the most complete publicly available data set. This comprehensive data set provides an opportunity to assess the authenticity of the virtual knee cohort which was previously unavailable.

We acknowledge this limitation, However, the goal of Open Knee(s) project is to provide a detailed specimen specific imaging and mechanical characterization data set which can be used to build a virtual specimen cohort. These models can then be used to address clinical concerns. However, the intention with the development of imaging protocols was not to be used directly in a clinical setting but in tandem with the mechanical characterization data for the given specimens.
.
Registration errors have been quantified and provided with the current manuscript in Table 4.

The goal of this submission is to provide the anatomical and mechanical characterization data useful for creating finite element models. However the focus is not to provide models with this submission. Since there is only one other publicly available data set (with limited imaging information and no registration markers) 9, our comprehensive data set can enable a specimen-specific model cohort where anatomical and mechanical data coordinate systems can be associated and many different tissue types of the knee can be reconstructed.

Reviewer #3 (Remarks to the Authors):
I should commend the authors for their efforts to provide an open source MR imaging database for subject specific knee modeling. I hope to see this efforts continue towards sharing the tissue mechanical properties and joint biomechanics data in near future. I have few recommendations which I believe would strengthen the work if addressed properly.
We are thankful to the reviewer for his/her acknowledgment of the utility of our publicly accessible data. In this submission we have provided both the anatomical imaging and joint mechanical characterization data for all the specimens. We also recently published a research article describing the development of a detailed mechanical characterization of cartilage with documented experimental repeatability20.

1. Better to include a reproducibility study to assess the errors in 3D geometry reconstruction through manual segmentations of these MRIs. The intra and inter ICC values should then be reported for each structure (ie. bone, cartilage and ligaments) using each specific sequence to show how the optimized sequences can result in reduced segmentation error.

2. Figure 5. Would be better to show the 3D geometry of each structure (i.e. cartilage, ligaments, bone, menisci and tendons) in a separate panel along with whole knee assembly.
3. Any specific reasons to not share the DICOMs directly. If logistically possible, that would make it much more convenient for a users to use this data.

4. Line 155-160: Specify the details of the coil (i.e. number of channels, model) used for MR imaging

5. Line 165-175: Specify the slice thickness for each sequence

1. An example comparison of inter user segmentation variability is provided in figure 3. An extensive repeatability assessment of all the components for all specimens has not been performed due to the resource intensive nature of the manual image segmentation process.

2. Figure 2 in the current manuscript is updated to show an example of segmentation. Our intention with this figure was to indicate utility of specific imaging set used for its intended purpose (cartilage set used for cartilage segmentation in this case.)

3. NIFTI files (encapsulate volume in one file) were created for ease of sharing of each imaging set (since there are 5 for each specimen). DICOMs can be provided if requested by users. Please note that many imaging software utilized to analyze DICOM files have the capability to open NIFTI files as well, e.g. 3D Slicer.
4. Added at line 170 “Tx/Rx CP Extremity Coil, Siemens Healthneers Malvern, PA, USA”. Information regarding nuber of channels is not available.

5. Slice thickness for each sequence is provided in Table 2.