# Image Segmentation
## Target Outcome
This specification targets at volumetric reconstruction of a tissue of interest, specifically the definition of the boundaries of the tissue,
- as an image volume, and
- as a surface representation (STL).
## Prerequisites
### Infrastructure
Slicer. Slicer is a free, open source software package for visualization and image analysis (BSD-style open source license, see http://www.slicer.org).
### Previous Protocols
For more details, see Specifications/ExperimentationAnatomicalImaging.
## Protocols
### Input
Set(s) of MRI in NifTI format
### Overview
1. Download desired image volume for the desired specimen (NifTI, .nii).
2. Load the desired image volume into Slicer using Image/Data Input Procedures
3. Segment the tissue of interest using the tissue specific segmentation procedures described below.
NOTES:
  - Save the segmented label map regularly to avoid losing tedious work through program crashes.
  - Segmented volume can be overlayed on other image sets to evaluate boundaries, however it can only be further edited when overlayed on MRIs with the same size/resolution as the MRI from which it was originally created.
1. After completion of the segmentation, the volume should be exported as an image volume
2. A RAW triangulated surface should be generated , and then saved in STL format . This is considered to be a RAW STL as no smoothing procedures are performed when generating the STL. All points are expected to lie precisely on the surface of the segmented volume.
NOTE: It is recommended to complete this step only after segmentation of all the tissues are completed, as it is common to make changes throughout the process.
### Image/Data Input Procedures
Use the following procedures to load data in Slicer as necessary:
#### Load MRI data:
- NifTI:
  - File -> Add Data (or click Data icon button)
  - Click "Choose File(s) to add" button.
  - Select desired MRI(s) (.nii)
  - Click "Open".
- DICOM:
  - File -> DICOM (or click DCM icon button).
  - Click "Import" button.
  - Select directory containing DICOM image slices (.IMA).
  - Click 'Add link'.
  - CLick 'OK' after images load.
  - Select desired Series in DICOM Browser window.
  - Click 'Load'.
#### Load segmented label map image data (NifTI):
- File -> Add Data (or click Data icon button).
- Click 'Choose File(s) to Add'.
- Select Segmented label map image(s) (NifTI, .nii).
- Click 'Open'.
- Select 'Show Options'.
- Select 'LabelMap' for all label map volumes.
- Click 'Ok'.
### Image/Data Output Procedures
Use the following procedures to save data from Slicer as necessary:
#### Save segmented label map (as NifTI):
- File -> Save, or Save icon
- Deselect all modified/selected files in the 'File Name' field
- Select/Check the desired segmented label map volume (default type: NRRD, .nrrd)
- Set the 'File Format' to NifTI (.nii)
- Rename the label map volume as desired, see naming convention: Specifications/DataManagement
- Click 'Save'
#### Save triangulated surface, STL (a.k.a. Slicer Model):
- File -> Save, or Save icon
- Deselect all modified/selected files in the 'File Name' field
- Select/Check the desired triangulated surface (default type: VTK, .vtk)
- Set the 'File Format' to STL (.stl)
- Rename the triangulated surface as desired, see naming convention: Specifications/DataManagement
- Click 'Save'
#### Exporting a Label Map from the “Segment Editor” Module
- If you are in the editing mode, click “Segmentations”
- Hide all segmentations besides the one that you wish to export.
- Scroll down and expand the “Export/Import models and label maps” tab. For “Operation”, select “Export”
- From the “Output node” drop down, select the desired name. Note that this will override the existing label map with that name. If you wish, you may select “export to new labelmap” and then rename it as desired when saving.
- Expand the “Advanced” tab, and under “Exported Segments” drop down, select “Visible”.
- Click “Export”
- Repeat the above steps for all segmentations you wish to export.
- You may now save the segmentations using the directions above
### Viewing Options
Under the pin drop-down menu (under >> button) in any of the 2D slicer viewers:
- Link viewers to ensure that they all display the same label map volumes.
- Two label maps can be overlayed on the MRI in order to compare segmented boundaries between two different structures. The label map you want to edit should be set as the Label Layer (icon in pin drop-down 2D viewer menu with an "L"). The other label map can be loaded as the Foreground Layer (icon with an "F").
- Change transparency of the label map in 2D viewers by changing the percent opacity by changing value near the eye (display/hide) icon: 0.0 (transparent) to 1.0 (opaque).
- Change contrast/brightness of MRI using the default mouse cursor pointer tool by clicking and dragging up/down and left/right in any of the 2D viewers.
### Segmentation Procedures
Several methods for segmentation in 3DSlicer are described here. The choice of method depends on the tissue type, and personal preference. Below, in tissue specific procedures, guidelines are provided for segmentation procedures based on tissue type.
#### Segmentation Setup
- From the "Modules" drop-down menu, select "Editor"
- When multiple MRI sets are loaded, in most cases the desired MRI to be segmented should be the same as the Master Volume. It is also possible to do segmentation on a different MRI than the Master Volume. For example, different MRIs can be displayed in different windows, e.g. those that are ligament specific and cartilage specific. When linked, Slicer uses interpolation for coupled viewing of the image sets that are already spatially aligned. For segmentation, one can use one image set as the master volume but segment in the other allowing high resolution segmentation volume from images with lower resolution.
- If it is the first time entering Editor Module, click Apply to select the default GenericAnatomyColors to create a new Merge Volume (i.e. label map, with the same size/resolution as the Master Volume)
- If not the first time, make sure the desired label map overlayed (i.e. being edited) in the 2D slice viewers is the same as the Merge Volume.
- Save the segmented label map regularly to avoid losing tedious work through program crashes.
#### Manual Segmentation
- Perform 'Segmentation Setup'.
- Highlight the anatomy of interest in every slice, in each image plane orientation as appropriate (coronal, sagittal, axial).
- Different tools are available to highlight anatomy of interest a desired label (e.g. label1):
  - Use the Paint Effect (under 'Edit Selected Label Map' tab, top row of icons, 3rd icon from left) [with an appropriate/largest radius] to fill in the area using a brush.
  - Use the Draw Effect (under 'Edit Selected Label Map' tab, top row of icons, 4th icon from left) to draw the boundaries of the area - freehand or by right mouse click to set the polygon corners and left click to fill in the polygon.
  - Use the eraser (under 'Edit Selected Label Map' tab, top row of icons, 2nd icon from left) to change the behavior of the tool, e.g. brush or pencil, to erase rather than draw.
  - For first- time users, this web page provides a more detailed explanation of all the tools in the editor module.
- Tips and Shortcuts using 3DSlicer:
  - In Editor Mode:
    - 'c' to open list of labels, type # of label id and enter to switch labels quickly
    - 'z' to undo
    - 'y' to redo
    - 'd' for Draw Effect
    - 'p' for Paint Effect
    - 'e' to erase from label
    - arrow keys to move forward/background a slice
#### Grow-Cut Segmentation
- Perform 'Segmentation Setup'
- Perform the following steps on roughly equally-spaced slices in each image plane orientation as appropriate (coronal, sagittal, axial).
  - Use the Paint Effect (under 'Edit Selected Label Map' tab, top row of icons, 3rd icon from left) [with an appropriate radius] to highlight anatomy of interest (foreground) using a specific label (e.g. label1).
  - Use the Paint Effect to highlight area around anatomy of interest (background) with a different label (e.g. label2).
  - Use the Paint Effect to "cap" boundaries of anatomy of interest (background) to prevent foreground leakage (before/after anatomy of interest appears).
  - Note: The number of slices to highlight the anatomy in will depend on the clarity of the boundary, and how much the boundary changes throughout the slices. For example: A Registration marker has very clear black/white boundaries, and is the same in every slice. It would be enough to just highlight the anatomy/background in one slice, and then “cap” the ends. However on other anatomies, you may need to highlight 5- 10 slices for the Grow Cut Effect to work well.
- Select GrowCutEffect icon (under 'Edit Selected Label Map' tab, bottom row of icons, 3rd icon from left).
- Click the "Apply" button (Slicer window graphics will freeze until the grow cut algorithm is complete).
- Remove the background label:
  - Select ChangeLabelEffect (under 'Edit Selected Label Map' tab, bottom row of icons, 3rd icon from right).
  - Select label2 as input and background [0] as output.
  - Click the "Apply" button.
- See figures below for example of segmentation using GrowCutEffect with foreground (green) and background (yellow).

For more information on Growth Cut Effect refer to the 3DSlicerWiki http://www.slicer.org/slicerWiki/index.php/Modules:GrowCutSegmentation-Documentation-3.6.
### Image Processing Procedures
#### Label Map Smoothing
- From the Modules drop-down menu, select 'Surface Models' -> 'Label Map Smoothing'
- Set Gaussian Smoothing Parameters, Sigma based on image resolution (e.g. 0.7 for cartilage MRI, resolution = 0.35 x 0.35 x 0.7 mm)
- From 'Input Volume' drop-down menu, select desired label map
- From 'Output Volume' drop-down menu, select 'Create and rename new Volume'
- Enter new name as desired, click 'OK'
- Click Apply
#### Joint Smoothing
Joint smoothing is performed in the “Segment Editor” module
Load desired MRI, and segmentations to Slicer using Image/Data Input procedures
- From the “Modules” drop-down menu, select “Segment Editor”
- Check that the Master Volume is set as the desired MRI to be segmented.
- Load the segmentations into the segment editor:
  - click “Segmentations”
  - scroll down and expand the “Export/Import models and label maps” tab
  - For “Operation”, select “Import”
  - Choose the desired label map from the “Input node” drop down.
  - Click “Import”
- There will now be a list of segmentations. Use the eye toggle to hide/show segmentations from the list.
- Click “Edit Selected”
- Under “Effects” click “Smoothing”.
- In the “smoothing method” drop down select “Joint Smoothing”.
- Set the desired smoothing factor: try the default, and if it causes the label map to shrink too much, press undo, and repeat with a lower smoothing factor.
- Ensure that only the segmentations you wish to perform joint smoothing on are visible. Hide all others.
- Click “Apply”
- Check the results, and perform touch ups. To edit a segmentation, click on it's name in the list of segmentations, and use the tools in “Effects” to make changes.
- Once you are satisfied with the results, you must export the label maps from the segment editor module before saving.

#### Generate Triangulated Surface (STL) from Label Map
Note: In this stage a RAW STL is being created, therefore no smoothing procedures will be performed when generating the STL.
There are several ways to create an STL in slicer:
- From the Modules drop-down menu, select 'Surface Models' -> 'Model Maker'
  - Under 'IO' tab, from 'Input Volume' drop-down menu, select desired Label Map
  - In Model drop-down menu, either 'Create and rename new Hierarchy' (e.g. default 'Models'), or select an existing Model Hierarchy.
    - NOTE: all models can be generated under the same or separate model hierarchies
  - Under 'Create Model' tab, specify a desired 'Model Name' for the select Label Map.
  - FOR RAW STL:
    - Under 'Model Maker Parameters', set 'Smooth' to zero.
    - Under 'Model Maker Parameters', set 'Decimate' to zero.
  - Click Apply button.
  - Save the STL
- From Editor:
  - Select the MakeModelEffect
  - Set desired Label Map as the Merge Volume
  - FOR RAW STL: deselect 'smooth model'
  - Click Apply button.
  - Save the STL
- From Segment Editor:
  - If you are in the editing mode, click “Segmentations”
  - Hide all segmentations besides the one that you wish to export.
  - Scroll down and expand the “Export/Import models and label maps” tab. For “Operation”, select “Export”. For the “Output type” select “Models”.
  - From the “Output node” drop down, select the desired model hierarchy
    - NOTE: all models can be generated under the same or separate model hierarchies
  - Expand the “Advanced” tab, and under “Exported Segments” drop down, select “Visible”.
  - Click “Export”
  - Save the STL

### Tissue-Specific Procedures
Below are the guidelines for segmentation procedures based on tissue type.
#### Registration Markers
INPUT: general purpose MRI
Procedure for registration marker segmentation:
1. Perform Grow Cut segmentation procedure on desired marker.
2. FOR SPHERICAL FEMUR/TIBIA MARKERS:
  1. Manually segment to fill in the screw hole on spherical registration markers on femur and tibia.
IF MARKERS ARE PLASTIC SPHERES WITH ULTRASOUND GEL:
  1. Manually segment to fill in bubbles using 'art' to define outer spherical boundary.
LABELS: FMR-M, FMR-L, FMR-P, TBR-M, TBR-L, TBR-P, PTR-S, PTR-M, PTR-L (includes bone and relative marker location, e.g. FMR-M is comprised of FM for femur, R for registration marker, and -M for medial).

Illustration 1: oks001, femur and tibia registration markers (posterior)
#### Bones
INPUT: cartilage MRI (sagittal)
NOTE: Cortical bone will appear black in MR images, so outer edge of black cortical region defines the bone surface.
Procedure for bone segmentation:
1. Perform Grow Cut segmentation procedure on desired bone.
2. Perform Label Map Smoothing to remove Grow Cut boundary noise.
3. Perform manual segmentation to more accurately define bone boundary.
4. Iteratively repeat last two steps until boundary is as desired.
LABELS: FMB (femur), TBB (tibia), FBB (fibula), PTB (patella).

Illustration 2: oks001, femur

Illustration 3: oks001, tibia

Illustration 4: oks001, patella

Illustration 5: oks001, fibula
#### Cartilage
INPUT: cartilage MRI
NOTE:Cartilage segmentation should be informed by bone segmentation. (i.e. use bone boundary to help define cartilage boundary).
Procedure for cartilage segmentation:
1. Perform Grow Cut segmentation procedure on desired bone.
2. Perform Label Map Smoothing to remove Grow Cut boundary noise.
3. Perform manual segmentation to more accurately define bone boundary.
4. Iteratively repeat last two steps until boundary is as desired.
5. perform Joint smoothing between cartilage and neighboring bone.
6. Manual touch up
LABELS: FMC (femoral), TBC-M (medial tibial), TBC-L (lateral tibial), PTC (patellar).

Illustration 6: oks001, femur cartilage

Illustration 7: oks001, patella cartilage

Illustration 8: oks001, medial tibia cartilage

Illustration 9: oks001, lateral tibia cartilage
#### Menisci
INPUT: cartilage MRI
NOTE: Menisci segmentation should be informed by cartilage segmentation (i.e. use cartilage boundary to help define meniscus boundary).
Procedure for menisci segmentation:
1. Manual segmentation
2. Label map smoothing
3. Manual touch-up
LABELS: MNS-M (medial), MNS-L (lateral).

Illustration 10: oks001, medial meniscus

Illustration 11: oks001, lateral meniscus
#### Connective Tissue - Ligaments & Tendons

NOTE:Connective tissue segmentation should be informed by bone segmentation (i.e. use bone boundary to help define connective tissue boundary).
Procedure for patellar ligament, quadriceps tendon, ACL, PCL (and any connective tissue when applicable):
- PHASE 1 (INPUT: ligament MRI):
  - Load sagittal ligament MRI.
  - Perform the Grow Cut segmentation procedure on desired tissue.
  - Modify the label map boundary manually if desired.
- PHASE 2 (INPUT: cartilage MRI):
  - Load cartilage MRI.
  - Overlay previous ligament MRI segmented label map (from PHASE 1) over the cartilage MRI (as Foreground Layer, NOTE: make sure to increase opacity, default is 0. For more details see Viewing Options.)
  - Create new label map (Merge Volume) from cartilage MRI (set as Label Layer).
  - Manually segment the tissue using the ligament MRI label map boundaries as a guide.
Alternatively, one can display the ligament specific MRIs and the cartilage specific MRI in different windows. When linked, Slicer uses interpolation for coupled viewing of the image sets that are already spatially aligned. In return, one can do the segmentation on interpolated ligament MRIs using the cartilage MRI as the master volume for segmentation. This allows high resolution segmentation volume from images with lower resolution directly.
Procedure for LCL, etc.:
1. Manual segmentation
2. Label map smoothing
3. Manual touch-up
4. Perform Joint smoothing between connective tissue and neighboring bone.
5. Manuel touch up
LABELS: ACL, PCL, LCL, PTL, QAT.

Illustration 12: oks001, patellar ligament

Illustration 13: oks001, quadriceps tendon

Illustration 14: oks001, ACL

Illustration 15: oks001, PCL

Illustration 16: oks001, LCL
### Sample Results
3D SURFACE REPRESENTATION OF SEGMENTED REGIONS:

### Output
- Volume of tissue of interest as a binary image aligned with original MRI coordinate system
- Surface representation of tissue of interest in STL format in MRI coordinate system (raw, without filtering and smoothing)
# Geometry Generation
## Target Outcome
Geometric reconstruction of a tissue of interest ready for meshing:
as a watertight surface representation
## Prerequisites
### Infrastructure
MeshLab. MeshLab is an open source, portable, and extensible system for the processing and editing of unstructured 3D triangular meshes (GPL license, see http://meshlab.sourceforge.net/).
### Previous Protocols
For more details, see Specifications/ImageSegmentation.
## Protocols
### Input
Surface representation of tissue of interest in STL format in MRI coordinate system (raw, without filtering and smoothing)
### Overview

1. Load the desired STL into Meshlab using Input procedures
2. Perform smoothing procedures on the STL using the component specific procedures described below.
  - Save the STL regularly to avoid losing previous work through program crashes.
1. Check and Repair the STL as needed
2. Perform Paired Mesh distance maping between the RAW and processepd STLs to ensure that there have been no major changes to the mesh.
3. Export the STL. This is now considered to be an explicit surface representation of the tissue of interest processed with volume preserving smoothing.
4. Repeat this process for all components.

### Input Procedures
IMPORT STL to MeshLab:
1. File -> 'Import Mesh...'
2. Select desired STL file(s) (multiple contiguous by holding 'Shift', multiple non-contiguous by holding 'Ctrl').
3. Click 'Import STL'.
### Output Procedures
Note: There is no “undo” in MeshLab, and the program crashes often. It is recommended to export the stl after every successful step in the process, to avoid having to repeat steps later!
EXPORT STL
1. Select desired mesh to export from the Layer Dialog panel (see viewing options for directions to display the layer dialog)
2. File -> 'Export Mesh As...'.
3. Name file as desired, with the '.stl' extension.
4. Click 'Save'
### Viewing Options
Select the 'Show Layer Dialog' option.

  - During the smoothing process, the layer dialog panel shows the progress, and allows the viewer to select, display, or hide different versions of the mesh. Select the eye toggle next to the mesh name to hide or display it. The body highlighted in yellow is the “current mesh”. Any procedures performed will be applied to the current mesh.

Select the 'Flat Lines' option to view the mesh lines on the model surface.

### General Smoothing Procedures (LVTIT)
Below are the protocols for using various smoothing algorithms in MeshLab. The component specific procedures provide guidelines for which smoothing parameters to use, and the order in which to perform the procedures.
#### Laplacian Smoothing [L]
1. Select desired mesh from the Layer Dialog panel.
2. Filters > 'Smoothing, Fairing and Deformation' > 'Laplacian Smooth'
3. Set smoothing steps to 20 (or other value as per Component-Specific Procedures)
4. Click Apply
5. Save your work!
#### Surface Reconstruction: VCG [V]
1. Select desired mesh from the Layer Dialog panel.
2. Filters > 'Remeshing, Simplification and Reconstruction' > 'Surface Reconstruction: VCG'
3. Set 'Voxel Side', 'world unit' to a meaningful size (as per Component-Specific Procedures) to smooth out step-i-ness of mesh.
  - 'Voxel Side' values are chosen relative to original image resolution; e.g. for cartilage images with a resolution of 0.35 x 0.35 x 0.7 mm, use a world unit of 0.35, 0.5, 0.7 mm).
1. Select 'Post Merge Simplification'.
2. Click 'Apply'.
3. Save your work!
IF STL FRAGMENTS APPEAR AT MODEL EDGES AFTER RECONSTRUCTION:
TODO: Describe selecting/deleting floating STL fragments!
NOTES:
- Increasing 'Volume Laplacian iter' decreases resulting reconstructed volume.
- Changing 'Widening' had no visual effect.
#### Taubin Smoothing[T]
1. Select desired mesh from the Layer Dialog panel.
2. Filters -> 'Smoothing, Fairing and Deformation' -> 'Taubin Smoothing'
3. Select 'Preview' to interactively display current smoothing parameters.
4. Click 'Apply'.
5. Save your work!
USEFUL FOR:
- Smoothing vertices/nodes at sharply curved model edges.
- Correcting twisted triangles at focal points following 'Iso Parameterization'.
NOTES:
- Suggested settings: Lambda = 0.5, mu = -0.5
- Lambda values > 1.5 cause the mesh to jaggedly explode.
#### Iso Parameterization[I]
There are 2 stages to Iso Parameterization:
Stage 1: Iso Parameterization
1. Select desired mesh from the Layer Dialog.
2. Filters -> 'Remeshing, Simplification and Reconstruction' -> 'Iso Parameterization'
3. Click 'Apply.
4. save your work!
IF DOUBLE STEP DOESN'T WORK:
1. Deselect 'Double Step'.
2. Click 'Apply.
3. Save your work!
WARNINGS:
- This can be buggy, and may cause MeshLab to crash!
- This appears not to be deterministic, i.e. with same input mesh it may or may not work (e.g. same VCG parameters to smooth prior to Iso Parameterization didn't work in one attempt, but did in another).
Stage 2: Iso Parameterization Remeshing
1. Filters -> 'Remeshing, Simplification and Reconstruction' -> 'Iso Parameterization Remeshing'
2. Set 'Sampling Rate' = 10 (or other value as per Component-Specific Procedures)
3. Click 'Apply'.
4. If needed, iterate last two steps, changing the 'Sampling Rate' until desired surface triangle size is obtained.
5. Save your work!
### Component-Specific Procedures
#### Registration Markers
No smoothing Procedures. Keep the STL in the RAW format.
#### Bones
General Procedure Smoothing (LVTIT) parameters for femur (FMB), tibia (TBB):
1. [L]aplacian Smoothing: Smoothing steps = 20
2. [V]CG Surface Reconstruction: Voxel Side (world unit) = 0.7
3. [T]aubin Smoothing: Lambda = 0.5, mu = -0.53 (defaults)
4. [I]so Parameterization: Sampling Rate = 10
5. [T]aubin Smoothing: Lambda = 0.5, mu = -0.53 (defaults)

General Procedure Smoothing (LVTIT) parameters for patella (PTB):
1. [L]aplacian Smoothing: Smoothing steps = 20
2. [V]CG Surface Reconstruction: Voxel Side (world unit) = 0.5
3. [T]aubin Smoothing: Lambda = 0.5, mu = -0.53 (defaults)
4. [I]so Parameterization: Sampling Rate = 7
5. [T]aubin Smoothing: Lambda = 0.5, mu = -0.53 (defaults)

General Procedure Smoothing (LVTIT) parameters for fibula (FBB):
1. [L]aplacian Smoothing: Smoothing steps = 20
2. [V]CG Surface Reconstruction: Voxel Side (world unit) = 0.5
3. [T]aubin Smoothing: Lambda = 0.5, mu = -0.53 (defaults)
4. [I]so Parameterization: Sampling Rate = 5
5. [T]aubin Smoothing: Lambda = 0.5, mu = -0.53 (defaults)

#### Cartilage
General Procedure Smoothing (LVTIT) parameters for femoral cartilage (FMC):
1. [L]aplacian Smoothing: Smoothing steps = 20
2. [V]CG Surface Reconstruction: Voxel Side (world unit) = 0.35
3. [T]aubin Smoothing: Lambda = 0.5, mu = -0.53 (defaults)
4. [I]so Parameterization: Sampling Rate = [10,15,20] (low density, mid density, high density)
5. [T]aubin Smoothing: Lambda = 0.5, mu = -0.53 (defaults)

General Procedure Smoothing (LVTIT) parameters for tibial cartilage (TBC-M, TBC-L):
1. [L]aplacian Smoothing: Smoothing steps = 20
2. [V]CG Surface Reconstruction: Voxel Side (world unit) = 0.35
3. [T]aubin Smoothing: Lambda = 0.5, mu = -0.53 (defaults)
4. [I]so Parameterization: Sampling Rate = [7,10,13 (low density, mid density, high density)
5. [T]aubin Smoothing: Lambda = 0.5, mu = -0.53 (defaults)

General Procedure Smoothing (LVTIT) parameters for patellar cartilage (PTC):
1. [L]aplacian Smoothing: Smoothing steps = 20
2. [V]CG Surface Reconstruction: Voxel Side (world unit) = 0.35
3. [T]aubin Smoothing: Lambda = 0.5, mu = -0.53 (defaults)
4. [I]so Parameterization: Sampling Rate = [(6),8,10,(12)] (low density, mid density, high density)
5. [T]aubin Smoothing: Lambda = 0.5, mu = -0.53 (defaults)

#### Menisci
Modified General Procedure Smoothing (LIT) parameters for mensici (MNS-M, MSN-L):
1. [L]aplacian Smoothing: Smoothing steps = 20
2. [I]so Parameterization: Sampling Rate = [6,8,10,] (low density, mid density, high density)
3. [T]aubin Smoothing: Lambda = 0.5, mu = -0.53 (defaults)
NOTE: Modified General Procedure preserves volume better for thin, highly curved geometry, but doesn't smooth segmentation aliasing.

#### Connective Tissue - Ligaments & Tendons
General Procedure Smoothing (LVTIT) parameters for ACL, PCL:
1. [L]aplacian Smoothing: Smoothing steps = 20
2. [V]CG Surface Reconstruction: Voxel Side (world unit) = 0.35
3. [T]aubin Smoothing: Lambda = 0.5, mu = -0.53 (defaults)
4. [I]so Parameterization: Sampling Rate = [3,4,5,] (low density, mid density, high density)
5. [T]aubin Smoothing: Lambda = 0.5, mu = -0.53 (defaults)

General Procedure Smoothing parameters for patellar ligament (PTL):
1. [L]aplacian Smoothing: Smoothing steps = 20
2. [V]CG Surface Reconstruction: Voxel Side (world unit) = 0.35
3. [T]aubin Smoothing: Lambda = 0.5, mu = -0.53 (defaults)
4. [I]so Parameterization: Sampling Rate = [6,8,10] (low density, mid density, high density)
5. [T]aubin Smoothing: Lambda = 0.5, mu = -0.53 (defaults)

General Procedure Smoothing parameters for quadriceps tendon (QAT):
1. [L]aplacian Smoothing: Smoothing steps = 20
2. [V]CG Surface Reconstruction: Voxel Side (world unit) = 0.35
3. [T]aubin Smoothing: Lambda = 0.5, mu = -0.53 (defaults)
4. [I]so Parameterization: Sampling Rate = [4,6,8] (low density, mid density, high density)
5. [T]aubin Smoothing: Lambda = 0.5, mu = -0.53 (defaults)

Modified General Procedure Smoothing (LVIT) parameters for MCL:
1. [L]aplacian Smoothing: Smoothing steps = 20
2. [V]CG Surface Reconstruction: Voxel Side (world unit) = 0.35
3. [I]so Parameterization: Sampling Rate = [6,7,8] (low density, mid density, high density)
4. [T]aubin Smoothing: Lambda = 0.5, mu = -0.53 (defaults)

Modified General Procedure Smoothing (LIT) parameters for LCL:
1. [L]aplacian Smoothing: Smoothing steps = 20
2. [I]so Parameterization: Sampling Rate = [3,4,5] (low density, mid density, high density)
3. [T]aubin Smoothing: Lambda = 0.5, mu = -0.53 (defaults)

### Paired Mesh Distance Mapping (Hausdorff distance)
This step is intended to determine if there was a major loss of volume due to smoothing procedures, or if any important features were lost. Perform paired mesh distance mapping between the raw STL and the smoothed STL. If there is a major loss of volume or features of the tissue, repeat smoothing procedure again for that tissue, reducing the smoothing steps in Laplacian Smoothing (this may result in a mesh that requires more manual repairs, but there will be less loss of volume).
Import desired STL(s).
COMPUTE DISTANCE MAP:
1. Filters -> Sampling -> Hausdorff Distance.
2. Set the 'Sampled Mesh' to the desired reference surface (i.e. the surface that the colored distance map will be displayed on, mapped at vertices).
3. Set the 'Target Mesh' to the surface used to determine the distance map (from the reference surface vertices).
4. Click 'Apply'.
DISPLAY DISTANCE MAP:
1. Make sure the desired reference map is selected in the Layer Dialog.
2. Display -> 'Show Vert Quality Histogram'.
3. Filters -> 'Color Creation and Processing' -> 'Color by vertex Quality'.
4. Set 'Min' to 0.
5. Set 'Max' to an appropriate level (suggestion: aim for distance ~zero-count transition in histogram).
6. Select 'Preview' to interactively display currently calculated distance map on the surface.
7. Iterate last three steps until desired color-to-distance correspondence is determined.
8. Click 'Apply'.
### Checking and Repairing the STL
After performing the smoothing procedures, it must be checked that the STL is manifold and watertight.
#### Repair Boundary and Non-Manifold Edges:
  1. Select Render > Show Non Manif Edges
  2. Select Render> Show Boundary Edges
    - Boxes will pop up showing how many of each of these items exist, and they will be highlighted on the mesh. If these numbers are all zero, skip to step 5. If the numbers are non-zero, but you cannot see the highlighted regions on the mesh, select Filters>Selection>Dilate Selection, to help the regions stand out more.
*Perform steps 3 and 4 for each of the highlighted regions.
  1. Use ‘select faces in rectangular region’ tool and select all the faces touching the highlighted region.
    - IMPORTANT! Press alt while using the selection tool so that it will only select the faces on the top layer.
    - Press shift to deselect using the tool
  1. Select 'Delete current set of selected faces and vertices' Ignore holes for now.
*Once the above have been completed for all highlighted regions, the pop up boxes should	show 0 Non Manifold Edges. There will still be boundary edges as there are still holes in the	mesh.
  1. Select Render > Show Non Manif Vertices.
    - A box will pop up showing how many non manifold vertices exist, at this point they should be orphan nodes. If this number is zero, move on to step 7.
  1. Select Filters > Cleaning and Repairing > Remove unreferenced vertex
  2. Select Filters>Remeshing, Simplification, and Reconstruction > Close Holes. Leave default options and click Apply.
  3. Save changes.
#### Check Directions of Surface Normals:
1. Select Render > Show Face Normals . This will draw a line from the center of all the faces in the direction of the normal. The 3D meshing process will work better if the surface normals all point outward.
2. Select Filter > Normals, Curvatures, and Orientation > Re-Orient all faces coherently
### Sample Results
Following are images of the three-dimensional knee geometry (at ~90 degree increments) generated by using the coarsest triangulated surfaces.

### Output
Explicit surface representation of tissue of interest; in STL format in MRI coordinate system (processed with volume preserving smoothing)

# Mesh Generation
## Target Outcome
Finite element mesh of a tissue of interest ready for model development:
- node definitions
- element definitions
- node set definitions
- element set definitions
- surface set definitions
## Prerequisites
### Infrastructure
SALOME. SALOME is an open-source software that provides a generic platform for pre- (cad, meshing) and post-processing for numerical simulation (LGPL license, see http://www.salome-platform.org/).
### Previous Protocols
For more details, see Specifications/GeometryGeneration.
## Protocols
### Input
Explicit surface representation of tissues of interest; in STL format in MRI coordinate system (processed with volume preserving smoothing)
### Overview
1. Create an xml file with connectivity between components according to these directions
2. From Salome, run the script StlToMed.py for tetrahedral meshing of the tissues of interest.
### Creating connectivity file
To create the connectivity file the user should already have the STLs for all the tissues that were created in the Geometry Generation step. Each part is added to the assembly as an XML element. Within this part element several child elements are needed: file, material, Tie, and Contact.
#### File
The path to the stl file
#### Material
The pre-defined materials are elastic, rigid
#### Tie and Contact
The Tie and Contact elements should have the elements that they are paired with as sub-elements.
Tie- there is no “slip” between the parts, they are “tied together”
Contact- the parts are touching, but they can slip/move with respect to one another.
The Tie and Contact constraints which will be used to create the node groups are defined by geometric principles relating the two tissues. The currently defined principles are:
- Proximity – find all nodes on the paired surface within a distance related to the element size. This is the default for Tie constraints.
- Normals – select faces that have normal vectors that point toward the barycenter of the other tissue. This can also be limited by the proximity if desired.
- Contains – one mesh contains the other, select faces that have normal vectors that point inward or outward.
- All – all the surfaces. This is the default for contact.
Here is an excerpt from connectivity xml file for the knee model. It includes the entries for the Femur, Fibula, Patella, and Patella Cartilege (PC).
<Assembly>
<Femur>
<file>/path/to/file/Femur.stl</file>
<material>rigid</material>
<Contact>
<MCL/>
<LCL type="normals" multiplier="5"/>
<QT type="normals" multiplier = "15"/>
</Contact>
<Tie>
<FC/>
<LCL multiplier="2"/>
<ACL multiplier="0.8"/>
<PCL multiplier="1"/>
</Tie>
</Femur>
<Fibula>
<file>/path/to/file/Fibula.stl</file>
<material>rigid</material>
<Contact type="proximity"></Contact>
<Tie>
<LCL/>
</Tie>
</Fibula>
<Patella>
<file>/path/to/file/Patella.stl</file>
<material>rigid</material>
<Contact></Contact>
<Tie>
<PL/>
<PC/>
<QT/>
</Tie>
</Patella>
<PC>
<file>/path/to/file/PatellarCartilage.med</file>
<material>elastic</material>
<Contact>
<FC type="normals" multiplier="10"/>
</Contact>
<Tie>
<Patella multiplier="1.2"/>
</Tie>
</PC>
</Assembly>
### Scripted Procedure for Tetrahedral Meshing
This python script (StlToMed.py) will read the xml file with the connectivity of several stl files in the same coordinate system. It will then mesh them in 3D, and create groups of elements and nodes for applying boundary conditions. Currently it makes groups of all, outer surface, and a proximity based tie condition. The 3D meshes are saved in MED format.
#### Directions for running the script
1. Save the script (StlToMed.py) in a Folder on your computer.
2. Link the external python packages to Salome. Add a new text file with the extension .pth to Salome's python site-packages directory. The .pth file should contain the path to the site-packages of the other python installation you wish to use.
There are two possible locations for Salome's python site-packages directory depending on the Salome installation method:
  1. ROOT/appli_V7_7_1/lib/python2.7/site-packages/salome.
  2. ROOT/PREREQUISITES/INSTALL/Python-2.7.10/FROM_nothing/lib/python2.7/site-packages.
Example: If the path to the folder containing the python script StlToMed.py is: home/user/Documents/FolderContainingScript, you will type that in a text file, and save it in Salome's Python site-packages folder with .pth extension.
1. Save the connectivity file (NameOfConnectivityFile.xml), and tissues surfaces (Tibia.stl, Femur.stl, etc.) all in the same folder on your computer
2. Call the script from salome, giving the xml file as the argument. Be sure to include the paths to the script and xml file, if you are not already in the directory containing them (or if one is in a different directory). To do this, type:
  salome /path/to/script/StlToMed.py args:/path/to/xml/NameOfConnectivityFile.xml
  - IMPORTANT NOTES: everything is case sensitive, and can be sensitive to extra spaces. For example, the script will not run properly if you type args: NameofConnectivityFile.xml instead of args:NameofConnectivityFile.xml due to the improper space after args:
#### Description of Script
The script StlToMed.py does the following:
- Import surface into mesh module of SALOME. (note that surface mesh density will be dictated by the imported surface)
- Define mesh generation parameters, e.g. NETGEN 3D Parameters. (this will dictate internal mesh density)
- Compute the mesh.
- Define groups, (e.g. element, node, face sets) based on Tie and Contact conditions written in the connectivity xml (Proximity, Normals, Contains).
- Export mesh using the same file name as the imported surface, except with the extension *.med
- Save mesh in MED format
### Output
- Template finite element mesh of all tissues of interest in MED format, including:
  - node, and node set definitions
  - element, and element set definitions
  - surface set definitions

# Model Assembly
## Target Outcome
Assembled model of the knee in Finite Element Analysis software
## Prerequisites
### Infrastructure
FEBio is a nonlinear implicit FE framework designed specifically for analysis in biomechanics and biophysics (Custom open source license; free for research use, licensing for commercial use is available, see http://www.febio.org)
## Protocols
### Input
- Finite element mesh of all tissues of interest in MED format
- Connectivity File (.xml) created in Mesh Generation
### Overview
Run the script MedToFebio.py to create an FEBio (.feb) file containing the finite element model of the knee.
### Scripted Procedure for creating FEBio file
This python script (MedToFebio.py) will read an xml file with the connectivity of several stl files in the same coordinate system (the same file from the Mesh Generation step). It will convert the MED file into an FEBio file.
#### Directions for running the script
1. Save the script (MedToFebio.py) in a Folder on your computer.
2. Link the external python packages to Salome. Add a new text file with the extension .pth to Salome's python site-packages directory. The .pth file should contain the path to the site-packages of the other python installation you wish to use. (If the script is saved in the same folder as StlToMed.py, then this does not need to be done again)
There are two possible locations for Salome's python site-packages directory depending on the Salome installation method:
1. ROOT/appli_V7_7_1/lib/python2.7/site-packages/salome.
2. ROOT/PREREQUISITES/INSTALL/Python-2.7.10/FROM_nothing/lib/python2.7/site-packages.
Example: If the path to the folder containing the python script MedToFebio.py is: home/user/Documents/FolderContainingScript, you will type that in a text file, and save it in Salome's Python site-packages folder with .pth extension.
Call the script from salome, giving the xml file as the argument. Be sure to include the paths to the script and xml file, if you are not already in the directory containing them (or if one is in a different directory). To do this, type: salome MedToFebio.py args:NameofConnectivityFile.xml
- Example: salome home/user/Documents/FolderContainingScript/MedToFebio.py args:home/user/Documents/FolderContainingXmlAndStl/NameofConnectivityFile.xml
- IMPORTANT NOTES: everything is case sensitive, and can be sensitive to extra spaces. For example, the script will not run properly if you type args: NameofConnectivityFile.xml instead of args:NameofConnectivityFile.xml due to the improper space after args:
#### Description of Script
The script MedToFebio.py does the following:
Convert the Finite Element Mesh information, including node and element sets, to an FEBio input file (.xml)
### Output
FEBio input file (.xml) including the fully assembled model and all node and element sets defining connections between the tissues.