Instructors: Snehal Chokhandre, Ellen Klonowski, Ahmet Erdemir
        Department of Biomedical Engineering,
        Cleveland Clinic, Cleveland, Ohio, USA.

Lab objective: Familiarize students with the various methods of mechanical characterization of biological materials.

Summary:

The lab will focus on two test types for demonstration, uniaxial tension and unconfined compression. Both tensile and compression samples will go through ramp loading at various strain rates, cyclic loading, a single step stress relaxation and a failure test to demonstrate tissue behavior under various testing/loading conditions. Cartilage will be used as example material. An overview of the origin of the samples, sample preparation, the equipment and settings used, and protocols included in the demonstration will be provided at the beginning of the lab. Both the test sets will be performed during the lab using two available machines. Once the tests are done, the output data will be checked for quality. The lab will conclude with a 10 minute discussion. An assignment will also be given to students which will be due in two weeks and will be evaluated by the Clinic team.

Material provided before lab: <link>

1. A document with general introduction to mechanical characterization of biological materials (Phenomena such as hysteresis etc will be described). This will also include information on the tissue used for the laboratory, overview of mechanical tests to be demonstrated, other tests typically performed, and the rationale behind all protocols (specimen, sample orientation, sample location, sample preparation, test environment, test protocols etc)
2. Overview of output data of mechanical tests, simple material properties etc.

Data provided: <link>

1. Load, deformation and time data for ramp loading at various strain rates
2. Load, deformation and time data for cyclic loading
3. Load, deformation and time data for single step stress relaxation
4. Load, deformation and time data for failure test
5. Sample dimensions

Assignment:

TBD

Follow up/ discussion:

1. Questions will be addressed throughout the lab. The lab will also conclude with a 10 minute discussion.
2. All follow up questions and further discussions can be continued on the project forum. <link>