Open Knee(s):
Relating Imaging and Optotrak Coordinate Systems
Connor Lough
Summer Research Student
Lerner Research Institute
Cleveland Clinic
Cleveland, OH, USA
June 30, 2015
Summer Research Midterm Presentation

---
Motivation
Registration Markers from joint experimentation
Registration markers from anatomical imaging

---
The Goal
Establish a relationship between the registration markers in the...
Joint Experimentation coordinate system
Anatomical Imaging coordinate system
Allows for easier comparison between the two
Anatomical Imaging
Joint Experimentation

---
How Do We Do This?
Results
Anatomical Imaging
NifTI-1.1 File (.nii)
Anatomical Imaging Coordinates
Joint Experimentation
State Configuration File (.cfg)
Optotrak World Coordinates

---
Joint Experimentation
Created Two Python Scripts
cfgdataprocessPF.py
Patellofemoral Data
Patella MRI Marker Positions
cfgdataprocessTF.py
Tibiofemoral Data
Both Tibia and Femur MRI Fiducial Sphere Postitions
Both .cfg files contain:
Collected Points of Position Sensor in:
(x,y,z,r,p,w) coordinates
Collected Points of the Rigid Bodies (Femur, Tibia, or Patella Markers) in:
(x,y,z) coordinates

---
Joint Experimentation (cont.)
Coordinates are given in Optotrak world coordinates (OPT_WORLD)
We want to get the coordinates in the bone Optotrak sensor coordinates (TIB_OS, FEM_OS, PAT_OS)

---
Transformation Matrices
Using the position sensor coordinates (x,y,z,r,p,w) we can extract the following transformation matrix for each of the coordinate sets [30 in the case of tibia and femur, 12 in the case of patella]:
We now have 4 x 4 transformation matrix for each coordinate set

---
Transformation Matrices (Cont.)
For each coordinate set, we have our 4 x 4 Transformation Matrix, T, and our rigid body sensors (x,y,z) coordinate matrix with respect to the Optotrak world system, A. However, we want to find the coordinates with respect to the Optotrak sensor coordinate system, B.
In order to perform matrix multiplication, coordinates must be in a 4 by 1 matrix.
The 1 is removed at the end.
This transformation is done for every coordinate set, resulting in a matrix containing coordinates with respect to the Optotrak sensor coordinate system.

---
Sphere Fit
The coordinates are then split into their respective markers and a sphere is fitted to those points using the Pratt method (Al-Sharadqah, Chernov).
Script returns the center and radius of the spheres.
When needed, it also returns the centroid between the three spheres present (in the Tibia and Femur cases).
The results are then exported to the .csv file results.csv for later use.

---
Anatomical Imaging
Anatomical Imaging
NifTI-1.1 File (.nii)
1.) Segmenting the registration markers
2.) Correcting, Smoothing, Saving as .stl
3.) Run .stl file through stldataprocess.py

---
3D Slicer

---
3D Slicer

---
3D Slicer (Cont.)
Separate “structures” for easy identification
Saved as separate .stl files

---
3D Slicer (Cont.)

---
Meshlab
Final smoothing of markers

---
Python Script
Example:
[loughc@lri-104180 Registration]$ python stldataprocess.py
Radius (mm):
8.06225848609
Center (mm):
[-38.21938621 13.89618373 77.8407352 ]
The results will now be stored in a .txt file.
Creating new text file...
Enter string for name of text file:'test1'
These results are stored in the specified file.

---
Summary
Take the joint experimentation data and transform into optotrak sensor coordinate system
Using python, fit a sphere and find centers, radii, and centroid
Segment the markers in 3D slicer/meshlab
Using Python, find center of markers and radii in imaging coordinates
Relationship between coordinate systems

---
Limitations
Originally fit a sphere to 12 points on the patella marker, like the tibia and femur markers
Not as accurate
Doesn't allow for centers of the three spheres seen in MRI

---
Further Pursuits
Instead, use order of digitization and identify the points
Plus, we know distances between each and distances between the centers of spheres

---
Further Pursuits (cont.)
Separate script that takes into account the relationship among the 12 points in finding:
the center of entire registration marker
the center of each sphere

---
Further Pursuits (cont.)
Difference between PAT_OS and PAT coordinate system
Account for this difference in scripts with another transform

---
References
Al-Sharadqah, Ali; Chernov, Nikolai. “Error analysis for circle fitting algorithms.” Electron. J. Statist. 3 (2009), 886--911. doi:10.1214/09-EJS419. http://projecteuclid.org/euclid.ejs/1251119958.