Patellofemoral Pressure Analysis
        Diana Suciu
Department of Biomedical Engineering
Case Western Reserve University
Cleveland, OH, USA
Computational Biomodeling (CoBi) Core
Department of Biomedical Engineering
Lerner Research Institute
Cleveland Clinic
Cleveland, OH, USA
        June 30 2015
        Midsummer Presentation

---
Open Knee(s): Motivation
- To provide free access to three-dimensional finite element representations of the knee joint.
- Open development of knee models for collaborative testing and use.

---
Open Knee(s): Objective
- Diverse sample (10 specimens)
    male / female
    young / elderly
    healthy / osteoarthritic
- Full knee models
    tibiofemoral joint
     patellofemoral joint
- Complete specimen-specificity
     geometry
      tissue material properties
- Comprehensive data
     joint kinematics/kinetics
      tissue stress/strain

---
Objective
- To analyze the data from patellofemoral testing and to compare it to the initial Tekscan findings.

---
Background Information

---
        Tekscan Sensors
- Calibration of the Sensor
- Load cell display on screen
- 5 trials (5 point calibration)
- During each trial wait for stabilization before
  calibrating

---
        Python Script
Desired Output:
A matrix that represents the average pressure over time
The maximum pressure and force
The total sensor area used during the trials
Given Input:
Csv file with multiple pressure matrices
Scaling and Calibration information
Sensor size

---
    Patellofemoral Testing Returns:
Csv file of Tekscan pressure pad data
Calibration information and Scaling factor
Sensor size
Time lapse for each frame

---
Logic
Multiple functions to find specific variables
Matrix creator
Pressure reader
Sensor area reader
Force (integral) solver

---
        Logic: Matrix Maker
Used a combination of while and if loops to iterate through the Csv file and locate each matrix frame.
Created a summation matrix, then averaged it by the number of Frames read
While loop with
Nested if loops

---
        Logic: Pressure Reader
This function iterated through the summation matrix returned by the Matrix Maker function and iterated through until it found the maximum pressure
For Loop

---
        Logic:Sensor Reader
Iterates through the Csv file searching for Key phrases.
If the key phrase is found the value associated with the phrase is returned
While loop with
nested if statements

---
        Logic: Integral Solver
F=int(PdA)
Retrieves the maximum pressure from the averaged matrix, as Pressure
Retrieves the total sensor area
Integrating for area gives the Maximum Force for the averaged matrix

---
        Logic: Returning Values
All the desired outputs are printed to an Output text file that is created in the file that the python script is stored.
Values found currently being compared to original Tekscan data.

---
        Requirements to Run

---
MRI Segmentation

---
Meshlab

---
Summary
Key information from patellofemoral tests are accurately calculated and stored.
Smoothed bone models for future testing.

---
ACKNOWLEDGMENTS
National Institutes of Health (NIH)
National Institute of General Medical Sciences (NIGMS)
Lerner Reaserch Institute (LRI)
Case Western Reserve University (CWRU)
Ahmet Erdemir (PI)
Omar Gad
Connor Lough
funding by:

---
CONTACT
Diana Suciu
suciud@ccf.org
Ahmet Erdemir
erdemira@ccf.org